## Instruction
Instructions Tab
1. There are (2) Two Tabs in this workbook.
2. The price for the Deliverables are exclusive of GST, HST, QST and inclusive of PST
3. The contract will be awarded from February 1, 2018 to January 31, 2021 with optional extension as per Agreement.
4. The Pricing will remain unchanged from February 1, 2018 to January 31, 2021.
Pricing Matrix -Table 1
1. Proponents to Price the Generator maintenance cost in the following columns indicated below in the Pricing Matrix Tab;
Description | Column
Semi-Annual (every 6 Months) Month | N
Labour Hours per Semi-Annual Service | O
Annual Service (1 Year) Month | P
Labour Hours per Annual Service | Q
5 Year Service (per CSA requirements | R
Labour Hours per 5 Year Service | S
Total Labour Hours per year (semi + annual) | T
Semi-Annual Price ($) as per Part B - Requirements, Section 2.1 a | U
Annual Price ($) as per Part B - Requirements, Section 2.1 b | V
Total Annual Cost ($)= Semi Price + Annual Price | W
*5 Year Price ($) as per Part B - Requirements, Section 2.1 d | X
2. Proponents are to include all travel cost and consumables when pricing in the Pricing Matrix.
Unit Rates
1. Proponents to provide pricing/percentage for on demand rates for each of the options indicated on the Tables 2, 3, 4.
2. The Pricing/Percentage will remain unchanged from February 1, 2018 to January 31 2021

## Pricing Matrix
Appendix 3 - Pricing/Specifications Table - (Revised V3 Dec. 7, 2017) (must be submitted in electronic format with Proposal)
Table 1 - Schedule of Prices for Generator Maintenance: |  |  |  |  | ANTICIPATED SCHEDULE
No | Site for EG1 Generator | Address | City | Manufacturer | Model number | Manufacture Serial No. | Manufacture Part No. | Voltage/Phase | ATS Model | ATS Serial No. | ATS Quantity | Location > Underground /Ground level/Above Ground Level | Semi-annual Schedule | Labour Hours per Semi-Annual Service | Annual Service Schedule | Labour Hours per Annual Service | 5 Year Service (per CSA requirements | Labour Hours per 5 Year Service | Total Labour Hours per year (semi + annual) | Semi-Annual Price ($) as per Part B - Requirements, Section 2.1 a | Annual Price ($) as per Part B - Requirements, Section 2.1 b | Total Annual Cost ($)= Semi Price + Annual Price | *5 Year Price ($) as per Part B - Requirements, Section 2.1 d
1 | EG1-Generator-West End CC | 870 Denman Street | Vancouver | Onan | 10.0CCKB | 087308964 | 10KW(4) | 208V/3phase | Thomson -TS873A | TS1: 95090603913 TS2: 95239784928 | 2 | Ground Level -100ft cable | February |  | August |  | August
2 | EG1-Generator-Coal Harbour CC | 480 Broughton Street | Vancouver | Onan | DGBA - DIESEL | D990899920 | DIESEL 80KW | 208V/3phase | TTI | Unknown | 1 | Below Ground Level -100ft cable | August |  | February |  | February
3 | EG1-Generator-Creekside CC | 1 Athletes Way | Vancouver | Kohler | 60REOZJB | 2217797 | 60KW | 208V/3phase | TTI | Unknown | 1 | Below Ground Level -100ft cable | July |  | January |  | January
4 | EG1-Generator-Van Aquatic | 1050 Beach Avenue | Vancouver | Marathon Electric Magnaplus | 284PSL1752 | LM-432575-0507 | 35KW | 208V/3phase | TS8730100A1BN1AKKAA | W-043558 | 1 | Ground Level -100ft cable | September |  | March |  | March
5 | EG1-Generator-Kerrisdale CC | 5851 West Boulevard | Vancouver | Onan | 125JC-18R/3742AA | Unknown | 12.5KW | 208V/3phase | TTI | Unknown | 1 | Ground Level -100ft cable | October |  | March |  | March
6 | EG1-Generator-Killarney CC | 6260 Killarney Street | Vancouver | Onan | Unknown | Unknown | 100KW | 208V/3phase | TTI | Unknown | 1 | Ground Level -100ft cable | February |  | August |  | August
7 | EG1-Generator-Hillcrest CC | 4575 Clancy Loranger Way | Vancouver | Detroit Diesel | Unknown | Unknown | 50KW | 600V/3 Phase | TTI | Unknown | 1 | Above Ground Level - 100ft cable | October |  | April |  | April
8 | EG1-Generator-St Pk Teahouse | Park Drive Stanley Park | Vancouver | MTU | 100GJS6DT3 | 314783-1-1-1109 | 100KW | 120V/Single Phase | TTI | Unknown | 1 | Ground Level -100ft cable | February |  | August |  | August
9 | EG1-Generator-Evans Yard | 955 Evans | Vancouver | Caterpillar | D125-6 | CAT00C66KN6D00156 | 125KW | 208V/3phase | TTI | Unknown | 1 | Ground Level -100ft cable | February |  | August |  | August
10 | EG1-Generator-2nd Beach | STANLEY PARK | Vancouver | MTU | 80PGC6NLTI | BPS1P8.10NGP | 80KW | 120V/Single Phase | TTI | Unknown | 1 | Ground Level -100ft cable | August |  | February |  | February
11 | EG1-Generator-New Continental | 1067 SEYMOUR STREET | Vancouver | Mitsubishi | SPO200D3P 6D22TS | Unknown | DIESEL 200KW | 208V/3phase | TTI | Unknown | 1 | Below Ground Level -100ft cable | August |  | February |  | February
12 | EG1-Generator-Oppenheimer | 450 E Cordova | Vancouver | Onan | CCKB-4R/13B | Unknown | NG 10KW | 208V/3phase | TTI | Unknown | 1 | Below Ground Level -100ft cable | July |  | January |  | January
14 | EG1-Generator-312 Main | 312 Main St. | Vancouver | Finning-Caterpillar | D175-2 | Unknown | DIESEL 175KW | 208V/3phase | TS873A0600A1CE3AKKXA | W-076705 | 1 | Ground Level -100ft cable | April |  | October |  | October
15 | EG1-Generator-Graveley | 3585 Graveley St. | Vancouver | Onan-Cummins | 500DFED | Unknown | DIESEL 500KW | 480V/3phase | OTCC 600C | G910403720 | 1 | Below Ground Level -100ft cable | April |  | October |  | October
16 | EG2-Generator-Kootenay | 1570 Kootenay | Vancouver | Kohler | 600RE02V | K980820222 | DIESEL 600KW | 480V/3phase | TS883B1200A1BM2BKKAA | W-042515 | 1 | Ground Level -100ft cable | April |  | October |  | October
17 | EG1-Generator-City Hall | 453 W. 12th Ave. | Vancouver | Cummins | 250.ONT5/37014E | 2318226 | DIESEL 250KW | 600V 3 phase | GCP ES52 | 19261 | 1 | Below Ground Level -100ft cable | April |  | October |  | October
18 | EG1-Generator-Vancity | 515 W. 10th Ave. | Vancouver | Onan | 10CCK-4R/BE | C907101596 | NG 10KW | 120V / 1 phase | TS910 | Unknown | 1 | Ground Level -100ft cable | April |  | October |  | October
19 | EG1-Generator-Library Square | 350 W. Georgia St. | Vancouver | Simpower | SP1100D3P:S12N-PTA-2 | Unknown | DIESEL 1000KW | 600V/ 3phase | TS753TK-1200A-598 | TS1: TS753TK-1200A-600 TS2: TS768TK-1200A-600 TS3: TS791TK-1200A-600 | 3 | Below Ground Level -100ft cable | November |  | May |  | May
20 | EG1-Generator-Planetarium | 1100 Chestnut St. | Vancouver | Generac | 5822680100 | 9768 | DIESEL 100KW | 208V/3phase | TS 873A0400A1AKKAA | W033965 | 1 | Ground Level -100ft cable | November |  | May |  | May
21 | EG2-Generator-Maritime Museum | 1905 Ogden Ave. | Vancouver | Generac | 5219700100 | 2085367 | DIESEL 50KW | 208V/3phase | 4CS TCS 80 Thomson technology | N W-031720 | 1 | Ground Level -100ft cable | November |  | May |  | May
22 | EG1-Generator-National Yard | 701 National Avenue | Vancouver | Cummings | 150 DGFA | 2083190 | DIESEL 150KW | 600V/3 Phase | TSBU 853 | W-021875 | 1 | Ground Level -100ft cable | July |  | January |  | January
23 | EG1-Generator-Manitoba Yard | 250 W 70th Ave | Vancouver | Kohler | 275REOZJE | 030480817 | DIESEL 275KW | 600V/3 Phase | TS 873A0100A1CE3AKKAA | W-076709 | 1 | Ground Level -100ft cable | July |  | January |  | January
24 | EG1-Generator-425 Industrial Ave | 425 Industrial Ave | Vancouver | MTU | 50PJC6DT3 | 314477-1-1-1109 | DIESEL 50KW | 208V/3phase | TS 873A0200A1BE3AKKAA | W-061658 | 1 | Ground Level -100ft cable | April |  | October |  | October
25 | EG1-Generator Orpheum | 884 Granville st | Vancouver | Kohler | 200R0ZD-3 | 666457 | DIESEL 250KW | 120v/208v 3 phase | TSBU 853 | 1402701-48397 | 1 | Below Ground Level -100ft cable | December |  | June |  | June
26 | EG1-Generator Q.E. THEATRE | 649 Cambie st | Vancouver | Onan | 85KB9XR/17738V | D800500392 | NG 85KW | 347v / 600V, 3 phase | TS 873A0150A1BN3AKKAA | W-062205 | 1 | Below Ground Level -100ft cable | December |  | June |  | June
27 | EG1-Generator - MOUNT PLEASANT CC | 1 Kingsway | Vancouver | Detroit Diesel | 30DSEB | 2106295 | DIESEL 300KW | 208V/ 3 phase | TS1 Model TS2 Thomson Technology Model#TS 873B00A1BE1BKKAA TS3 Thomson Technology/ TS 883A0800A3BE2BQQAA Fire Pump Transfer Switch Model# TFG208.60.3.60 | TS1:W-035797 TS2 :W-035796 TS3: W035798 TS4: Z3236 | 4 | Below Ground Level -100ft cable | January |  | July |  | July
28 | EG1-Generator-FH#1 | 900 Heatley Ave | Vancouver | Onan-Cummins | DGDB-5706917 | C050753886 | DIESEL 100KW | 208V/3phase | Onan-B050751040 | OTPCC-5706916 | 1 | Ground Level -100ft cable | March |  | September |  | September
29 | EG1-Generator-FH#2 | 199 Main St | Vancouver | Kohler-John Deere | 60REOZJC | 2273256 | DIESEL 62KW | 208V/3phase | Kohler-K2271162 | Unknown | 1 | Ground Level -100ft cable | January |  | July |  | July
30 | EG1-Generator-FH#3 | 2800 Quebec St. | Vancouver | Onan-Cummins | DGCB/33B | A000039602 | DIESEL 60KW | 208V/3phase | Onan | Unknown | 1 | Ground Level -100ft cable | January |  | July |  | July
31 | EG1-Generator-FH#4 | 1475 W. 10th Ave. | Vancouver | TTI-FIAT IVECO | B220197 | 8941-1-1 | DIESEL 20KW | 208V/3phase | Onan | Unknown | 1 | Ground Level -100ft cable | January |  | July |  | July
32 | EG1-Generator-FH#6 | 1001 Nicola St. | Vancouver | Kohler-John Deere | 60RE0ZJC | 2273912 | DIESEL 60KW | 208V/3phase | Kohler Model: KCT | K2271159 | 1 | Ground Level -100ft cable | January |  | July |  | July
33 | EG1-Generator-FH#7 | 1090 Haro St. | Vancouver | Kohler-John Deere | 50RE0ZJD | SGM322PV2 | DIESEL 50KW | 208V/3phase | Generac Model: GTS | 14523 | 1 | Ground Level -100ft cable | January |  | July |  | July
34 | EG1-Generator-FH#8 | 895 Hamilton St. | Vancouver | Kohler-John Deere | 80REOZJB | 2215994 | DIESEL 80KW | 208V/3phase | Kohler KCT | Unknown | 1 | Ground Level -100ft cable | January |  | July |  | July
35 | EG1-Generator-FH#9 | 1805 Victoria Dr. | Vancouver | Kohler-John Deere | 60RE0ZJC | 2273284 | DIESEL 49KW | 208V/3phase | Kohler RDT | K2265991 | 1 | Ground Level -100ft cable | January |  | July |  | July
36 | EG1-Generator-FH#12 | 2460 Balaclava St. | Vancouver | Kohler-John Deere | 60REOZJC | 2273257 | DIESEL 50KW | 208V/3phase | Kohler KCT | K2284529 | 1 | Ground Level -100ft cable | January |  | July |  | July
37 | EG1-Generator-FH#13 | 4013 Prince Albert St. | Vancouver | Onan-Cummins | DGCA-556452 | G020392565 | DIESEL 50KW | 208V/3phase | ASCO | Unknown | 1 | Ground Level -100ft cable | January |  | July |  | July
38 | EG1-Generator-FH#14 | 2804 Venables St. | Vancouver | Kohler-John Deere | 60RE0ZJC | 2273255 | DIESEL 60KW | 208V/3phase | Kohler KCT | ZK2271163 | 1 | Ground Level -100ft cable | January |  | July |  | July
39 | EG1-Generator-FH#15 | 3003 E. 22nd Ave. | Vancouver | Kohler-John Deere | 80REOZJE | 3021245 | DIESEL 83KW | 208V/3phase | Thomson Technology TSC 80 E | W-07060 | 1 | Ground Level -100ft cable | January |  | July |  | July
40 | EG1-Generator-FH#17 | 7070 Knight St. | Vancouver | Kohler-John Deere | 60RE0ZJC | 2273285 | DIESEL 49KW | 240V/ 1 phase | Kohler RDT | K271164 | 1 | Ground Level -100ft cable | January |  | July |  | July
41 | EG1-Generator-FH#18 | 1375 W. 38th Ave. | Vancouver | SimsonMaxwell-Perkins | 105PS-V3L | H99U1823 | DIESEL 105KW | 600V/3 Phase | ASCO: ATS3400/KMS | 5923 | 1 | Ground Level -100ft cable | January |  | July |  | July
42 | EG1-Generator-FH#19 | 4396 W. 12th Ave. | Vancouver | Kohler-John Deere | 60RE0ZJC | 2273911 | DIESEL 60KW | 208V/3phase | Kohler: KCT | K2271161 | 1 | Ground Level -100ft cable | January |  | July |  | July
43 | EG1-Generator-FH#20 | 5402 Victoria Dr. | Vancouver | Generac | SD0050 | 2055607 | DIESEL 50KW | 240V/ 1 phase | Generac : GTS | 25714 | 1 | Ground Level -100ft cable | January |  | July |  | July
44 | EG1-Generator-FH#21 | 5425 Carnarvon St. | Vancouver | Kohler-John Deere | 60RE0ZJC | 2273348 | DIESEL 49KW | 240V/ 1 phase | Kohler: RDT | Unknown | 1 | Ground Level -100ft cable | January |  | July |  | July
45 | EG1-Generator-FH#22 | 1005 W. 59th Ave. | Vancouver | Generac | 20A01069-S | 2055608 | DIESEL 50KW | 240V/ 1 phase | Generac : GTS | 25713 | 1 | Ground Level -100ft cable | January |  | July |  | July
46 | EG1-Generator-FH Training | 1330 Chess St. | Vancouver | Generac | SD0080 | 2071590 | DIESEL 80KW | 208V/3phase | Generac: GTS | Unknown | 1 | Ground Level -100ft cable | March |  | September |  | September
47 | EG1-Generator-Dog Squad | 755 Evans Ave. | Vancouver | Caterpillar | D80-6 | CAT00C44AD4800797 | DIESEL 80KW | 347/600/3phase | CTG/TSA16983 | Unknown | 1 | Ground Level -100ft cable | February |  | August |  | August
49 | EG1-Generator-Forensic Storage | 2010 Glen Drive | Vancouver | Cummins | 300DQDAC | A11018244 | DIESEL 300KW | 347/600/3phase | BTPCC | TS1:J100161266 TS2:J100161267 TS2: J100161268 | 3 | Ground Level -100ft cable | February |  | August |  | August
TOTAL: | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0
Table 2 - Callout for Emergency Services
No. | Callout Rates | Minimum Number of Hours | Hourly Rate | Regular Hour Definition
1 | Callout Charge for Emergency Services - O/T Hours
Table 3 - Subtrade Rates (Demand & Planned Services)
No. | Subtrade Labour Rates | Regular Hourly Rate | O/T Hourly Rate | Regular Hour Definition
1 | Electrician -TQ
2 | Apprentice Electrician
3 | Heavy Duty Mechanic Technician TQ
4 | Apprentice Heavy Duty Mechanic
5 | Labourer/Helper
Table 4 - Materials Markup %
No. | Consumable Item | Percentage Markup
1 | Material 1
2 | Material 2
3 | Material 3
4 | Material 4
5 | Material 5
Table 5 - Callout for Emergency Services | Lab Fuel Analysis Fee
No. | Fee | Cost | Sucbontractor Name
1 | Fixed Fee for Lab Fuel Analysis | S
Note on S3: Steve Dosanjh: DELETE
Note on K31: Steve Dosanjh: ATS integrated within Genset enclosure
Note on K32: Steve Dosanjh: ATS integrated within Genset enclosure
Note on K33: Steve Dosanjh: ATS integrated within Genset enclosure
Note on K36: Steve Dosanjh: ATS integrated within Genset enclosure
Note on K39: Steve Dosanjh: ATS integrated within Genset enclosure
Note on K49: Steve Dosanjh: ATS integrated within Genset enclosure
Note on M10: Steve Dosanjh: Located SE corner of the building by the pool loading bay inside the Upper Level of the Pool Loading Bay, Access through Drive Tower Stairs (Public Space -Must Schedule Advance to Close off drive tower to provide Access) Also Cable Access through the side of the Intake Grills from Exterior and test unit to be place outside on ground level
Note on M17: Steve Dosanjh: Underground parking level 2- 100ft cable
Note on M21: Steve Dosanjh: Generator is located at Parkade Level 1 north east (underground).
Note on M27: Steve Dosanjh: Basement by fan room (two sets of stairs) load bank set up at Seymour Street side walk, cables drop from hatch, 100’ cables.
Note on M28: Steve Dosanjh: Basement by work shop. (loading elevator, then 1 set of stair) load bank set up at work shop, 15 feet cables
Note on M29: Steve Dosanjh: Underground P1. Load Banks is parked at street level
Note on K46: Steve Dosanjh: ATS integrated within Genset enclosure
Note on K48: Steve Dosanjh: ATS integrated within Genset enclosure
Note on M19: Steve Dosanjh: Load Bank parked at street level
Note on M14: Steve Dosanjh: Load Bank parked at street level
Note on M15: Steve Dosanjh: Load Bank parked at street level
Note on M5: Steve Dosanjh: Load Bank parked at street level
Note on M6: Steve Dosanjh: Load Bank parked at street level
Note on R3: Steve Dosanjh: DELETE
Note on D77: Steve Dosanjh: Identify who will be the sub-contractor proposed for this service
Note on X3: Steve Dosanjh: DELETE