## Pricing Table
Vendor is requested to fill out blue sections under "Products Offered", to the best of their ability.
If Vendor is not bidding on a particular item(s), please enter $0.00 under the blue sections or leave it blank.
Products Offered
Item | Description | Unit of Measure | Estimated Annual Quantity (a) | Substitute yes/no | Critical Item | Manufacturer Name | MFR Part NO# | City's SKU# | Offered Brand | UPC Code | Description | Unit Price (b) | Total Price (a * b)
1 | GE Lighting 35-216702R22 Ignitor, High Pressure Sodium, 70/100W | ea | 40 | No substitute |  | GE LIGHTING SOLUTIONS | 35-216702R22 |  |  |  |  | 0 | 0
2 | D3PR3A C-H 120V 3PDT RELAY | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | D3PR3A C-H |  |  |  |  | 0 | 0
3 | M22-DZ-B-GB14 - Switch Actuator, IEC, M22 Series Modular Pushbutton Switches, | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | M22-DZ-B-GB14 |  |  |  |  | 0 | 0
4 | M22-D-G-K11 Non-Illuminated Pushbuttons, M22 Series | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | M22-D-G-K11 |  |  |  |  | 0 | 0
5 | Push Button, Extended Red, 22.5mm, 1NO/NC Contact, Non-Metallic | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | M22-DH-R-K11-P |  |  |  |  | 0 | 0
6 | Contactor, Non-reversing; 3P; 40A; 120/110V 60/50Hz | ea | 5 | No substitute |  | EATON/ MOELLER | XTCE018C10A |  |  |  |  | 0 | 0
7 | Contactor, IEC, 120VAC, 32A, 1NO, 3P, Frame C | ea | 3 | No substitute |  | EATON/ MOELLER | XTCE032C10A-QC1 |  |  |  |  | 0 | 0
8 | Contactor, IEC, 32A, 24VDC Coil, 3P, Frame C, 1NC Auxiliary | ea | 3 | No substitute |  | EATON/ MOELLER | XTCE032C10TD |  |  |  |  | 0 | 0
9 | Electronic Overload Controller, XT Series, Frame C, 16 A, 24 A, 220 V, XT Series | ea | 1 | No substitute |  | EATON/ MOELLER | XTOB024CC1 |  |  |  |  | 0 | 0
10 | Lamp, HW Series Pilot Light Devices, | ea | 10 | No substitute |  | IDEC | LSTD-2W |  |  |  |  | 0 | 0
11 | 105 to 480 Volt 15 Amp Outdoor Locking Type Receptacle with Mounting Bracket | ea | 15 | No substitute |  | INTERMATIC, INC. | K122 |  |  |  |  | 0 | 0
12 | Photocontrols: Stem and Swivel Mount Thermal Photocontrol, 120 V | ea | 1 | No substitute |  | INTERMATIC, INC. | K4221C |  |  |  |  | 0 | 0
13 | Shorting Plug, Rating: 15 A, 480 VAC Max | ea | 19 |  |  | INTERMATIC, INC. | K4500 |  |  |  |  | 0 | 0
14 | Single-Gang Die-Cast Aluminum Weatherproof Covers Ordering WP17 | ea | 10 |  |  | INTERMATIC, INC. | WP1010MXD |  |  |  |  | 0 | 0
15 | Normally Close - 2.8 x 1.5 x 1.4 - 15A @ 120VAC, 10A @ 240VAC, 30W @ DC | ea | 1 | No substiitute |  | HAMMOND MANUFACTURING | SKT011409NC |  |  |  |  | 0 | 0
16 | LIGHTING CONTACTOR - 30A 3P | ea | 11 | No substiitute |  | EATON/ CUTLER-HAMMER | CN35BN3AB |  |  |  |  | 0 | 0
17 | 50VA 600/120V TRANSFORMER | ea | 1 |  |  | EATON/ CUTLER-HAMMER | EPTX600P |  |  |  |  | 0 | 0
18 | Non-Illuminated Pushbutton: RED MSHRM HEAD PB HEAVY-DUTY PB ASSEMBLED | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | 10250T32R-POP |  |  |  |  | 0 | 0
19 | 30.5 mm, Heavy-duty, 2 Element, Start/Stop | ea | 2 | No substitute |  | EATON/ CUTLER-HAMMER | 10250H5200 |  |  |  |  | 0 | 0
20 | Contact Block, 6 A, 600 V, 2 Pole | ea | 2 | No substitute |  | EATON/ CUTLER-HAMMER | 10250T3 |  |  |  |  | 0 | 0
21 | CH3 10250T5B63-1X 30.5M PB, ENGRAVED EMERGENCY STOP TYPE; | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | 10250T5B631X |  |  |  |  | 0 | 0
22 | Metal Enclosure, 30.5mm, Push Button, Zinc, 102 mm, 99 mm, 76 mm | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | 10250TN11 |  |  |  |  | 0 | 0
23 | Eaton PP01123 9000x Series Fan 480v 75hp Thru 125hp | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | PP01123 |  |  |  |  | 0 | 0
24 | Contactor, 18 A, DIN Rail, Panel, 690 VAC, 3PST-NO, 3 Pole, 15 hp | ea | 3 | No substitute |  | EATON/ CUTLER-HAMMER | XTCE018C10A |  |  |  |  | 0 | 0
25 | MARMO250Q 250VA 240V120V OPEN XMFR | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | MO250Q |  |  |  |  | 0 | 0
26 | Cutler-Hammer - Lighting Contactor 3-Pole 30-AMP Open Type | ea | 2 | No substitute |  | EATON/ CUTLER-HAMMER | CN35DN3AB |  |  |  |  | 0 | 0
27 | Eaton Plug-In Replacement Br Breaker - 2P 30A | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | BR230 |  |  |  |  | 0 | 0
28 | Cutler Hammer BRAF115 EATON 1P 15A CB | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | BRAF115 |  |  |  |  | 0 | 0
29 | Square D Qo115 Sp-120/240V-15A Cb | ea | 1 | No substitute |  | SQUARE-D | Qo115 | 114666 |  |  |  | 0 | 0
30 | Breaker, Molded Case, Lug Kit, 225A, 6 - 300MCM, Cu/Al, F Frame | ea | 2 | No substitute |  | EATON/ CUTLER-HAMMER | 3TA225FDK | 105233 |  |  |  | 0 | 0
31 | Thermal Magnetic Circuit Breaker, F-Frame, HFD Series, 200 A, 3 Pole, 250 VDC, 600 VAC | ea | 2 | No substitute |  | EATON/ CUTLER-HAMMER | HFD3200 |  |  |  |  | 0 | 0
32 | DSP-1L-600 three-phase motors against loss, imbalance or inversion | ea | 9 | No substitute |  | CONTROLAB-PULSAR | DSP-1L-600 |  |  |  |  | 0 | 0
33 | GE Lighting 35-216702R22 HID Igniter; 70/100/150 Watt | ea | 340 | No substitute |  | G.E.C. CANADA LTD. | 35-216702R22 | 105130 |  |  |  | 0 | 0
34 | CJ1W-ID211 Conroller - PLC Input Module 16 DIGITAL | ea | 1 | No substitute |  | OMRON CANADA | CJ1W-ID211 |  |  |  |  | 0 | 0
35 | CJ1W-OC201 Contact Output Unit (Independent Relays, 8 Points) | ea | 1 | No substitute |  | OMRON CANADA | CJ1W-OC201 |  |  |  |  | 0 | 0
36 | CJ1W-PA205R Power Supply Module DIN Rail 100 ~ 240VAC | ea | 1 | No substitute |  | OMRON CANADA | CJ1W-PA205R |  |  |  |  | 0 | 0
37 | CJ2M-CPU32 CONTROL LOGIC EIP 10K STEPS | ea | 1 | No substitute |  | OMRON CANADA | CJ2M-CPU32 |  |  |  |  | 0 | 0
38 | H7ET-NFV-B Panel Mount Timer, Self Powered Totalizer, 24 VAC, 240 VAC | ea | 1 | No substitute |  | OMRON CANADA | H7ET-NFV-B |  |  |  |  | 0 | 0
39 | NS8-TV01B-V2 HMI TOUCHSCREEN 8.4" COLOR | ea | 1 | No substitute |  | OMRON CANADA | NS8-TV01B-V2 |  |  |  |  | 0 | 0
40 | PYF08A-E Relay Socket, DIN Rail, Screw, 8 Pins, 7 A, 250 VAC | ea | 1 | No substitute |  | OMRON CANADA | PYF08A-E |  |  |  |  | 0 | 0
41 | DNBA1515 BOLT ON 2X1P 15AMP DUPLEX | ea | 4 | No substitute |  | EATON/ CUTLER-HAMMER | DNBA1515 |  |  |  |  | 0 | 0
42 | BAB1020 1P 20A CH BRKR BOLT-ON 120/240 | ea | 11 | No substitute |  | EATON/ CUTLER-HAMMER | BAB1020 |  |  |  |  | 0 | 0
43 | BAB2020 2P 20A CH BRKR BOLT-ON 120/240 | ea | 2 | No substitute |  | EATON/ CUTLER-HAMMER | BAB2020 |  |  |  |  | 0 | 0
44 | BAB2030 2P 30A CH BRKR BOLT-ON 120/240 | ea | 9 | No substitute |  | EATON/ CUTLER-HAMMER | BAB2030 |  |  |  |  | 0 | 0
45 | KPRL4FD3 Breaker Connector Kit, Twin Mounting 3P | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | KPRL4FD3 |  |  |  |  | 0 | 0
46 | SVX075A1-5A4N1 Cutler Hammer, Div of Eaton Corp AC Drives, SVX9000 Series | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | SVX075A1-5A4N1 |  |  |  |  | 0 | 0
47 | BQL15 1P 15A CH BRKR BOLT-ON 120/240 | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | BQL15 |  |  |  |  | 0 | 0
48 | BAB1020 1P 20A CH BRKR BOLT-ON 120/240 | ea | 3 | No substitute |  | EATON/ CUTLER-HAMMER | BAB1020 |  |  |  |  | 0 | 0
49 | BQLT15215 Bolt-On Duplex/Quad Replacement Breaker - 2-1P & 1-2P 15A | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | BQLT15215 |  |  |  |  | 0 | 0
50 | B125 1-1/4 in.Hub, Bolt-On, 1-1/4", 2 Screw Mount | ea | 8 | No substitute |  | SQUARE-D | B125 |  |  |  |  | 0 | 0
51 | QO LoadCenter, Main Lug, 100A, 3PH, 3 SP, NEMA | ea | 8 | No substitute |  | SQUARE-D | QO403L100RB | 105492 |  |  |  | 0 | 0
52 | QBH220 2P 20A CH BRKR BOLT-ON 120/240 | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | QBH220 |  |  |  |  | 0 | 0
53 | CPM112 Eaton 125A Main Lug Loadcentre - 12/24 Type Br Circuits | ea | 3 | No substitute |  | EATON/ CUTLER-HAMMER | CPM112 |  |  |  |  | 0 | 0
54 | RCPM112 125A. 1PH 12/24 CCT. COMB P 1PH 100A RT LD CNTR | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | RCPM112 |  |  |  |  | 0 | 0
55 | CHC BR115 SP-120/240V-15A Circuit Breaker | ea | 2 | No substitute |  | EATON/ CUTLER-HAMMER | CHBR115 |  |  |  |  | 0 | 0
56 | CHC BR120 SP-120/240V-20A Circuit Breaker | ea | 7 | No substitute |  | EATON/ CUTLER-HAMMER | CHBR120 |  |  |  |  | 0 | 0
57 | CHC BR215 2P-120/240V-15A Circuit Breaker | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | CHBR215 |  |  |  |  | 0 | 0
58 | EATON DNPL152015 QUAD PLUG-IN BKR 2-1P 15 Circuit Breaker | ea | 2 | No substitute |  | EATON/ CUTLER-HAMMER | DNPL152015 |  |  |  |  | 0 | 0
59 | MH20 INTERCHANGEABLE 2" HUB | ea | 1 | No substitute |  | THOMAS & BETTS | MH20 |  |  |  |  | 0 | 0
60 | Eaton P27IN2 7 JAW SOCKET 200A 600V NEUT | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | P27-IN2 |  |  |  |  | 0 | 0
61 | MICROLECTRIC AN428 CLEVIS with INSULATOR | ea | 1 |  |  | THOMAS & BETTS | AN428 |  |  |  |  | 0 | 0
62 | C-H DH200NK SAFETY SWITCH NEUTRAL/GROUND KIT | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | DH200NK |  |  |  |  | 0 | 0
63 | 3HD361 C-H 30A3P 600V SWITCH | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | 3HD361 |  |  |  |  | 0 | 0
64 | 3HD362 C/H 60A3P 600V SWITCH | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | 3HD362 |  |  |  |  | 0 | 0
65 | 3HD364 HD 200A 3P 600V FUSIBLE TYPE 3R S | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | 3HD364 |  |  |  |  | 0 | 0
66 | Photo Control Receptacle and Pole Bracket Adapter - LED Compatible - 105-480 Volt | ea | 35 |  |  | INTERMATIC, INC. | K122 |  |  |  |  | 0 | 0
67 | K4021C BUTTON THERMAL PHOTOCONTROL, 120 V | ea | 1 |  |  | INTERMATIC, INC. | K2021C |  |  |  |  | 0 | 0
68 | K40535 Locking-Type Mounting, Thermal-Type Photo Control | ea | 6 |  |  | INTERMATIC, INC. | K4535 |  |  |  |  | 0 | 0
69 | DC100 – ALUMINUM COVER ROUND COVER | ea | 2 |  |  | RAB DESIGN LIGHTING INC. | DC100 |  |  |  |  | 0 | 0
70 | RAB - DVAKS100CG - 100W 120V CEILING MOUNT WEATHER PROOF FIXTURE W/GLASS/GUARD | ea | 4 |  |  | RAB DESIGN LIGHTING INC. | DESDVAKS100CG |  |  |  |  | 0 | 0
71 | GE - 35-967410-51 - Ignitor Kit | ea | 160 | No substitute |  | GE LAMPS | 35-967410-51 |  |  |  |  | 0 | 0
72 | Philips Advance 181735 - LI533-H4 - Ballast Ignitor - 150-450W - Pulse Start Metal Halide | ea | 40 | No substitute |  | PHILIPS LIGHTING | LI533-H4 |  |  |  |  | 0 | 0
73 | BALLASTS CAPACITOR DRY FILM HPS 35MF 240VAC | ea | 13 |  |  | STANDARD PRODUCTS | CAP35240D |  |  |  |  | 0 | 0
74 | OPTIC GLOBE WITH NECK / ACRYLIC / CLEAR 10" ACR CL 4" | ea | 188 |  |  | STANDARD PRODUCTS | 35521 |  |  |  |  | 0 | 0
75 | MINIATURES T / TL SHAPE AND XENON MINIATURE LAMPS T-3.25 / BA9S / 2.6W / 130V / | ea | 10 |  |  | STANDARD PRODUCTS | 22066 |  |  |  |  | 0 | 0
76 | T5 MED SNP/SCR MNT ROT. LOCKSOCKETS AND ACCESSORIES / ACCESS. SOCKET / FLUORESCENT SOCKETS / G5 | ea | 8 | No substitute |  | STANDARD PRODUCTS | 38004 |  |  |  |  | 0 | 0
77 | UNIVERSAL LIGHT M7012-27CK-5EU-JT3 electronic low frequency ballast for 70W metal halide lamps with 120V | ea | 10 | No substitute |  | UNIVERSAL LIGHT TECHNOLOGIES | 188631.02 |  |  |  |  | 0 | 0
78 | 35-150W HPS IMP Ignitor with Quick Connect | ea | 24 |  |  | VENTURE LIGHTING | BMS-006 |  |  |  |  | 0 | 0
79 | Philips Advance Dry-Film HID Capacitor, 17.5 MFD Rating, 300VAC, 1-5/8" Diameter | ea | 60 |  |  | PHILIPS LIGHTING | 7C175M30RA | 127253 |  |  |  | 0 | 0
80 | DXG-KEY-RMTKIT - Remote Keypad Kit | ea | 1 | No substitute |  | EATON/ CUTLER-HAMMER | DXG-KEY-RMTKIT |  |  |  |  | 0 | 0
81 | Highly Conductive Al Distribution Block, 380 Amp/Pole, #4 AWG-500kcmil(Run & Tap) | ea | 8 | No substitute |  | BURNDY CORPORATION | BDALHC11500 |  |  |  |  | 0 | 0
82 | 600VAC 5A Class CC TD Fuse | ea | 70 |  |  | MERSEN, INC. | ATQR5 |  |  |  |  | 0 | 0
83 | Fuse, Class-CN (Form 1/HRCI); 600V AC; 15A | ea | 30 |  |  | MERSEN, INC. | C15N |  |  |  |  | 0 | 0
84 | 600V 30A MIDG 1P FUSE BLK | ea | 2 |  |  | MERSEN, INC. | 30311 |  |  |  |  | 0 | 0
85 | Mersen, Ferraz Shawmut FEB-11-11, 600v, Fuse Holder | ea | 1350 | No substitute | Y | MERSEN, INC. | FEB-11-11 | 115215 |  |  |  | 0 | 0
86 | Mersen FSB1 1-Lug Insulating Fuse Holder Conductor Boot | ea | 2400 | No substitute | Y | MERSEN, INC. | FSB1 | 118436 |  |  |  | 0 | 0
87 | Mersen, Ferraz Shawmut GPM-WT90 Water Tight Screw Knob Panel Mount fuse Holder 600V 30A | ea | 41 | No substitute | Y | MERSEN, INC. | GPM-WT90 |  |  |  |  | 0 | 0
88 | CLASS J; TIME DELAY CHARACTERISTICS; 600 VAC/500 VDC; 200 AMPERE; INTERRUPTING RATING 200 KILOAMPERE (AC) | ea | 6 |  |  | MERSEN, INC. | AJT200 |  |  |  |  | 0 | 0
89 | CLASS J; TIME DELAY CHARACTERISTICS; 600 VAC/500 VDC; 25 AMPERE; INTERRUPTING RATING 200 KILOAMPERE (AC), | ea | 3 |  |  | MERSEN, INC. | AJT25 |  |  |  |  | 0 | 0
90 | CLASS J; TIME DELAY CHARACTERISTICS; 600 VAC/500 VDC; 50 AMPERE; INTERRUPTING RATING 200 KILOAMPERE (AC), | ea | 6 |  |  | MERSEN, INC. | AJT50 |  |  |  |  | 0 | 0
91 | CLASS J; TIME DELAY CHARACTERISTICS; 600 VAC/500 VDC; 80 AMPERE; INTERRUPTING RATING 200 KILOAMPERE (AC), | ea | 6 |  |  | MERSEN, INC. | AJT80 |  |  |  |  | 0 | 0
92 | OTM 15 250V MIDGET FUSE | ea | 2 |  |  | MERSEN, INC. | MEROTM15 |  |  |  |  | 0 | 0
93 | OTM 2 FUSE MIDGET OT 250V | ea | 42 |  |  | MERSEN, INC. | MEROTM2 |  |  |  |  | 0 | 0
94 | OTM 5 250V MIDGET FUSE | ea | 2 |  |  | MERSEN, INC. | MEROTM5 |  |  |  |  | 0 | 0
95 | TRM 5 FUSE MIDGET TD 250V | ea | 2400 |  | Y | MERSEN, INC. | MERTRM5 | 108851 |  |  |  | 0 | 0
96 | MERSEN ATM1 MFZ ATM1 600V MIDGET FUSE | ea | 4 |  |  | MERSEN, INC. | MERATM1 |  |  |  |  | 0 | 0
97 | ATM2/10 600V 2/10A 600V MIDGET FUSE | ea | 13 |  |  | MERSEN, INC. | MERATM2 |  |  |  |  | 0 | 0
98 | ATM3 3A 600V MIDGET FUSE | ea | 2 |  |  | MERSEN, INC. | MERATM3 |  |  |  |  | 0 | 0
99 | ATM5 5A 600V MIDGET FUSE | ea | 44 |  |  | MERSEN, INC. | MERATM5 |  |  |  |  | 0 | 0
100 | GAB25 25A 250V GLASS FUSE | ea | 10 |  |  | MERSEN, INC. | MGAB25 |  |  |  |  | 0 | 0
101 | TRS 10R FUSE "R" TD 600V | ea | 6 |  |  | MERSEN, INC. | MERTRS10R |  |  |  |  | 0 | 0
102 | MERSEN USCC1 MFZ USCC1 1P 30A MOD FUSEHLDR | ea | 7 |  |  | MERSEN, INC. | USCC1 |  |  |  |  | 0 | 0
103 | MERSEN USM2 2P 30A MOD FUSEHLDR | ea | 4 |  |  | MERSEN, INC. | USM2 |  |  |  |  | 0 | 0
104 | 6"X6"X4" CODE ELECTRIC CSA 3 ALUMINUM PULL BOX SCREW COVER | ea | 2 |  |  | CODE ELECTRIC PRODUCTS LTD. | D-WP-A-060604 |  |  |  |  | 0 | 0
105 | N1 Screw Cover w/KO's - 8 x 8 x 6 - Steel/Gray | ea | 1 |  |  | HAMMOND MANUFACTURING | CSKO886 |  |  |  |  | 0 | 0
106 | Panel 8.9 x 6.9 - Fits Encl. 10 x 8 - Steel/Wht | ea | 2 |  |  | HAMMOND MANUFACTURING | 14R0907 |  |  |  |  | 0 | 0
107 | N4X Wallmount Encl - 10.13 x 8.26 x 6.13 - Fiberglass | ea | 2 |  |  | HAMMOND MANUFACTURING | PJ1086L |  |  |  |  | 0 | 0
108 | N1 Screw Cover w/KO's - 10 x 10 x 4 - Steel/Gray | ea | 1 |  |  | HAMMOND MANUFACTURING | CSKO10104 |  |  |  |  | 0 | 0
109 | N1 Screw Cover w/KO's - 6 x 6 x 4 - Steel/Gray | ea | 3 |  |  | HAMMOND MANUFACTURING | CSKO664 |  |  |  |  | 0 | 0
110 | N1 Screw Cover w/KO's - 8 x 8 x 4 - Steel/Gray | ea | 2 |  |  | HAMMOND MANUFACTURING | CSKO884 |  |  |  |  | 0 | 0
111 | N4,12 Eclipse Junior encl w/ panel - 8 x 6 x 6 - Steel/Gray | ea | 1 |  |  | HAMMOND MANUFACTURING | EJ866 |  |  |  |  | 0 | 0
112 | #8-10-12 Tapered Anchors with Collar - Red | ea | 100 |  |  | L.H. DOTTIE COMPANY | ITEM # 22 |  |  |  |  | 0 | 0
113 | 3/16X3 SLOTTED SQUARE TOGGLE BOLT | ea | 50 |  |  | L.H. DOTTIE COMPANY | TB363DS |  |  |  |  | 0 | 0
114 | 8X1/2 PHILLIPS WAFER HEAD SELF DRILLING SCREWS | ea | 100 |  |  | L.H. DOTTIE COMPANY | TEKW812 |  |  |  |  | 0 | 0
115 | 10X1 RED COLLAR HEXAGONAL/SQUARE/PHILLIPS/SLOTTED DRIVE SCREW ANCHORS | ea | 3 |  |  | L.H. DOTTIE COMPANY | K7DC |  |  |  |  | 0 | 0
116 | 3/16X1-1/4 WALL DOG ANCHOR KIT | ea | 2 |  |  | L.H. DOTTIE COMPANY | SQDOG |  |  |  |  | 0 | 0
117 | Millennium Mini-Mi Voice & Tone Generator Weatherproof, durable, Multi-purpose | ea | 1 |  |  | EDWARDS SIGNALING | 5560M |  |  |  |  | 0 | 0
118 | SQUARE FLAT WHASHER GALVANIZIED STEEL 2-1/4 X 2-1/4 X 3/16 11/16 5/8 22.0 | ea | 600 |  |  | MACLEAN POWER SYSTEM | J1075 |  |  |  |  | 0 | 0
119 | CABLE GUARD (STRAP) STEEL GALVANIZED 3/16 X 1 3-3/16 11/32 69.3 | ea | 100 |  |  | MACLEAN POWER SYSTEM | J997 |  |  |  |  | 0 | 0
120 | CANADIAN ELECTRICAL CODE, PART1 | ea | 10 |  |  | CSA | [5 empty] | 0 | 0
121 | WIDE SIDE DIMMERS CFL/LED/Incandescent Single Pole, Non-Preset 120VAC; 450W | ea | 3 |  |  | LEGRAND PASS & SEYMOUR | WSCL450TC |  |  |  |  | 0 | 0
122 | AdaptaHorn Grille Type Vibrating Horn Weatherproof, NEMA Type 4X | ea | 1 |  |  | EDWARDS SIGNALING | 876 SERIES |  |  |  |  | 0 | 0
123 | 50LMP-20WH 40W Halogen lamp in 120V AC model; 20W Halogen lamp in 24V AC model | ea | 24 |  |  | EDWARDS SIGNALING | 50 SERIES |  |  |  |  | 0 | 0
124 | NXT SER 60A 150Vac 47 to 63Hz Chassis Mount Power Line Filter; w/ Stud Terminals | ea | 15 |  |  | ALLIED ELECTRONICS | INXT120NL000-1 |  |  |  |  | 0 | 0
125 | KNEELING PAD 12" X 22"L Heavy Duty Nitrile Foam Cushion Top Bottom Layer .25-inch Non-slip Rubber | ea | 56 |  |  | ESTEX | SKU 2735-12-22 |  |  |  |  | 0 | 0
126 | Copper-bonded gound rod 5/8"X 6' | ea | 3 |  |  | ERICO - CADDY | 635860 |  |  |  |  | 0 | 0
127 | ES-1 Series Photo Control 105-305 VAC 1000W, 1800VA | ea | 1000 |  | Y | Sun-Tech | ES-1 Series |  |  |  |  | 0 | 0
128 | LEVEL, TORPEDO | ea | 12 |  |  | Greenlee | L107 |  |  |  |  | 0 | 0
129 | AF16-30-10-11 24-60V50/60HZ 20-60VDC Contactor | ea | 2 |  |  | ABB | AF16-30-10-11 |  |  |  |  | 0 | 0
130 | CAPACITOR, 15KVAR, 600V, 3PH, NEMA12 POWER FACTOR CORRECTION 10.8 in x 10.5 in x 6 in | ea | 2 |  |  | ABB | C604D15 |  |  |  |  | 0 | 0
131 | Flexible Guide Head 1/4” & 5/16” 9/16″ 6″ 5/16″ unc 0.11 lb | ea | 2 |  |  |  | 57110-002 |  |  |  |  | 0 | 0
132 | Swivel Connectors 1/4" 1/2" 5/16" UNC 0.10 lbs | ea | 4 |  |  |  | 57140-003 |  |  |  |  | 0 | 0
133 | ELECTRICAL HEAT SHRINK TUBING & SLEEVES 1/8" | ea | 30 |  |  |  | FP-301 |  |  |  |  | 0 | 0
134 | ELECTRICAL HEAT SHRINK TUBING & SLEEVES 1/4" | ea | 190 |  |  |  | FP-302 |  |  |  |  | 0 | 0
135 | ELECTRICAL HEAT SHRINK TUBING & SLEEVES 5/16" | ea | 150 |  |  |  | FP-303 |  |  |  |  | 0 | 0
136 | ELECTRICAL HEAT SHRINK TUBING & SLEEVES 1/2" | ea | 65 |  |  |  | FP-450 |  |  |  |  | 0 | 0
137 | ELECTRICAL HEAT SHRINK TUBING & SLEEVES 3/4" | ea | 8 |  |  |  | FP-475 |  |  |  |  | 0 | 0
138 | Galv anized Steel Cable Guard 10' lentgh | ea | 20 | [8 empty] | 0 | 0
139 | CTP22 GRD COMP C-TAP CONN | ea | 36 |  |  | THOMAS & BETTS | CTP22 |  |  |  |  | 0 | 0
140 | BMP21-PLUS Printer Kit | ea | 1 |  |  | BRADY | BMP21-PLUS Printer Kit |  |  |  |  | 0 | 0
141 | Ideal 35-497 Punchmaster II Turn-Lock, Type 66 Replacement Blade | ea | 1 |  |  | IDEAL INDUSTRIES, INC. | 35-497 |  |  |  |  | 0 | 0
142 | Klein Tools Katapult Wire Stripper/Cutter (8-22 AWG) Automatic Wire Stripper | ea | 10 |  |  | KLEIN TOOLS, INC. | 11063W |  |  |  |  | 0 | 0
143 | 24-port flat coupler patch panel in black, includes 24 pre-installed RJ45 category 6 channel-compliant couplers, | ea | 3 |  |  | PANDUIT CORPORATION | CP24688BL |  |  |  |  | 0 | 0
144 | Compatible 10GBase SFP+ Modules T-N TN-SFP-10G-LR | ea | 2 |  |  | TRANSITION NETWORKS | T-N TN-SFP-10G-LR |  |  |  |  | 0 | 0
145 | Compatible 10GBASE-LR X2 1310nm 10km DOM Transceiver Module TN-X2-10GB-LR | ea | 2 |  |  | TRANSITION NETWORKS | TN-X2-10GB-LR |  |  |  |  | 0 | 0
146 | WHITE SINGLE GANG. 2-PORTS | ea | 1 |  |  | WIREWERKS | WW-000044 |  |  |  |  | 0 | 0
147 | Surface Mount Box 1 Port, White | ea | 12 |  |  | WIREWERKS | WW-000070 |  |  |  |  | 0 | 0
148 | Surface Mount Box 2 Port, White | ea | 6 |  |  | WIREWERKS | WW-000071 |  |  |  |  | 0 | 0
149 | Modular Connector, RJ45 / RJ11 Jack, 1 x 1 Port, Cat6, Panel Mount | ea | 3 |  |  | BELDEN | AX101066 |  |  |  |  | 0 | 0
150 | Keywerks Jack, Modular UTP; IDC-110 Connection; CAT 5e; White | ea | 10 |  |  | WIREWERKS | KWC5E-45B-WH |  |  |  |  | 0 | 0
151 | Keywerks Jack, Modular UTP; 8-Wire RJ45; CAT 6; Blue | ea | 3 |  |  | WIREWERKS | KWCC6-45B-BL |  |  |  |  | 0 | 0
152 | WIREPATH - CAT 5E 25FT ETHERNET PATCH CABLE (BLUE) | ea | 10 |  |  | WIREWERKS | CAT-5EABL-025 |  |  |  |  | 0 | 0
153 | STP28X0.2MBU Category 6A Performance, 28AWG, F/UTP Patch Cord, CM/LSZH, Blue, 0.2m. | ea | 50 |  |  | PANDUIT CORPORATION | STP28X0.2MBU |  |  |  |  | 0 | 0
154 | UTP28SP10BU-Q Category 6 Performance, 28 AWG UTP patch cord with TX6™ Modular Plugs on each end. | ea | 275 |  |  | PANDUIT CORPORATION | UTP28SP10BU-Q |  |  |  |  | 0 | 0
155 | UTP28SP1BU Category 6 Performance, 28 AWG UTP patch cord with TX6™ Modular Plugs on each end. Blue, 1 ft. | ea | 1000 |  |  | PANDUIT CORPORATION | UTP28SP1BU |  |  |  |  | 0 | 0
156 | UTP28SP1BU-Q Category 6 Performance, 28 AWG UTP patch cord with TX6™ Modular Plugs on each end. | ea | 275 |  |  | PANDUIT CORPORATION | UTP28SP1BU-Q |  |  |  |  | 0 | 0
157 | UTP28SP2BU Category 6 Performance, 28 AWG UTP patch cord with TX6™ Modular Plugs on each end. Blue, 2 ft. | ea | 100 |  |  | PANDUIT CORPORATION | UTP28SP2BU |  |  |  |  | 0 | 0
158 | UTP28SP2BU-Q Category 6 Performance, 28 AWG UTP patch cord with TX6™ Modular Plugs on each end. | ea | 25 |  |  | PANDUIT CORPORATION | UTP28SP2BU-Q |  |  |  |  | 0 | 0
159 | UTP28SP3BU Category 6 Performance, 28 AWG UTP patch cord with TX6™ Modular Plugs on each end. Blue, 3 ft. | ea | 100 |  |  | PANDUIT CORPORATION | UTP28SP3BU |  |  |  |  | 0 | 0
160 | UTP28SP7 Category 6 Performance, 28 AWG UTP patch cord with TX6™ Modular Plugs on each end. Off White, 7 ft. | ea | 275 |  |  | PANDUIT CORPORATION | UTP28SP7 |  |  |  |  | 0 | 0
161 | UTPSP10Y Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. Off White, 10 ft. | ea | 300 |  |  | PANDUIT CORPORATION | UTPSP10Y |  |  |  |  | 0 | 0
162 | UTPSP20Y Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. Off White, 20 ft. | ea | 100 |  |  | PANDUIT CORPORATION | UTPSP20Y |  |  |  |  | 0 | 0
163 | UTPSP25Y Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. Off White, 25 ft. | ea | 100 |  |  | PANDUIT CORPORATION | UTPSP25Y |  |  |  |  | 0 | 0
164 | UTPSP7Y Category 6, UTP patch cord with TX6™ PLUS Modular Plugs on each end. Off White, 7 ft. | ea | 200 |  |  | PANDUIT CORPORATION | UTPSP7Y |  |  |  |  | 0 | 0
165 | Cable, Fiber; Multimode OM1 62.5/125um; 2-Fiber 3mm; 3.28 ft.(1m) | ea | 40 |  |  | WIREWERKS | PC-2A-LCCSTC-001 |  |  |  |  | 0 | 0
166 | Cable, Fiber; Multimode 62.5/125um; Duplex; 7M | ea | 8 |  |  | WIREWERKS | PC-2A-SCCSCC-007 |  |  |  |  | 0 | 0
167 | Cable, Fiber; Multimode OM4 50/125 um; 7 ft.(2m) | ea | 25 |  |  | WIREWERKS | PC-4ALPCLPC002 |  |  |  |  | 0 | 0
168 | Cable, Fiber; Multimode OM4 50/125 um; 10 ft.(3m) | ea | 25 |  |  | WIREWERKS | PC-4ALPCLPC003 |  |  |  |  | 0 | 0
169 | Cable, Fiber; Multimode OM4 50/125 um; (5m) | ea | 50 |  |  | WIREWERKS | PC-4ALPCLPC005 |  |  |  |  | 0 | 0
170 | Cable, Fiber; Multimode OM4 50/125 um; (6m) | ea | 1 |  |  | WIREWERKS | PC-4ALPCLPC006 |  |  |  |  | 0 | 0
171 | Cable, Fiber; Multimode OM4 50/125 um; (8m) | ea | 25 |  |  | WIREWERKS | PC-4ALPCLPC008 |  |  |  |  | 0 | 0
172 | Cable, Fiber; Multimode OM4 50/125 um; (10m) | ea | 25 |  |  | WIREWERKS | PC-4ALPCLPC010 |  |  |  |  | 0 | 0
173 | Cable, Fiber; Multimode OM4 50/125 um; (13m) | ea | 1 |  |  | WIREWERKS | PC-4ALPCLPC012 |  |  |  |  | 0 | 0
174 | Cable Tray - 10 ft. L x 12 in. W x 4 in. D, ELECTRO GALVANIZED, STEEL, WIRE BASKET, | ea | 2 |  |  | CABLOFIL INC. | CF105/300EZ |  |  |  |  | 0 | 0
175 | Cable Tray - 10 ft. L x 6 in. W x 2 in. D, ELECTRO GALVANIZED, STEEL, WIRE BASKET, | ea | 2 |  |  | CABLOFIL INC. | CF54/150EZ |  |  |  |  | 0 | 0
176 | Cable Tray - L sections of 2 in. H x 12 in. W x 2 in. D, STEEL, WIRE BASKET, | ea | 4 |  |  | CABLOFIL INC. | CF54/300EZ |  |  |  |  | 0 | 0
177 | SSP Putty, FIRE STOP, 36 cu. in. (0.6 L) tube of putty | ea | 3 |  |  | STI (SPECIFIED TECHNOLOGIES INC) | SSP100 |  |  |  |  | 0 | 0
178 | BRACKET 6" FAS L, GREY, STEEL | ea | 3 |  |  | CABLOFIL INC. | FASL150PG |  |  |  |  | 0 | 0
179 | FAS profile 12 in. L, finish: pre-galvanized, Steel | ea | 8 |  |  | CABLOFIL INC. | FASP300PG |  |  |  |  | 0 | 0
180 | Cable Tray Splice Washer Kit, Carbon Steel, Electrozinc 50 Pack | ea | 1 |  |  | CABLOFIL INC. | SWKEZ |  |  |  |  | 0 | 0
181 | Test Lead, BIX Test Probe to Alligator Clips x2 | ea | 4 |  |  | BELDEN | A0270166 |  |  |  |  | 0 | 0
182 | TWINE, SPIRAL WRAP-1 PLY (430). | ea | 27 |  |  | GREENLEE TEXTRON, INC. | Greenlee / 430 | 115995 |  |  |  | 0 | 0
183 | 540-24 FISHSTIX KIT LONG | ea | 2 |  |  | GREENLEE TEXTRON, INC. | Greenlee / 540-24 |  |  |  |  | 0 | 0
184 | APC AP9630 UPS Network Management Card 2 | ea | 1 |  |  | APC SCHNEIDER ELECTRIC | AP9630 |  |  |  |  | 0 | 0
185 | NetShelter VX Seismic 42U Enclosure w/Sides Black | ea | 2 |  |  | APC SCHNEIDER ELECTRIC | AR2144BLK |  |  |  |  | 0 | 0
186 | 16 Sp. (28) Data Wall Rack With Plexi Door, Fits 20 Deep Equip., Black Finish | ea | 3 |  |  | MIDDLE ATLANTIC PRODUCTS | DWR-16-22PD |  |  |  |  | 0 | 0
187 | Riser Copper Cable, 4 Pair, 24 AWG, MARATHON 150, Category 5e, PE/FRPVC, Blue Jacket, 1,000 FT. Pop Box | ea | 1 |  |  | SUPERIOR ESSEX | 51-240-25 |  |  |  |  | 0 | 0
188 | Copper Cable,4 Pair, 23 AWG Category 6 CMP Blue 1,000 FT. Pop Box | ea | 1 |  |  | SUPERIOR ESSEX | 77-240-2B |  |  |  |  | 0 | 0
189 | 105F industrial fan wall control, 5 amp - 120 volt, Controls up to 4 fans | ea | 2 |  |  | BANVILLE LTD. | 105F |  |  |  |  | 0 | 0
190 | Wall Fan Heater • 1500W240V-WALL-HTR-WH | ea | 2 |  |  | OUELLET CANADA, INC. | OVS |  |  |  |  | 0 | 0
191 | Wall Fan Heater • 2000W240V-WALL-HTR-WH | ea | 4 |  |  | OUELLET CANADA, INC. | OVS |  |  |  |  | 0 | 0
192 | UNDERGROUND WIRE CONNECTOR, MODEL 60®GRAY/GRAY use in damp/wet locations | ea | 7000 |  | Y | IDEAL INDUSTRIES, INC. | 30-1230 | 108782 |  |  |  | 0 | 0
193 | TWISTER® WIRE CONNECTOR, MODEL 341® TAN | ea | 8000 |  | Y | IDEAL INDUSTRIES, INC. | 30-341 | 114793 |  |  |  | 0 | 0
194 | TWISTER® WIRE CONNECTOR, MODEL 342®GRAY | ea | 6100 |  | Y | IDEAL INDUSTRIES, INC. | 30-342 | 104924 |  |  |  | 0 | 0
195 | WING-NUT® WIRE CONNECTOR, MODEL 454®BLUE | ea | 4850 |  | Y | IDEAL INDUSTRIES, INC. | 30-454 | 107926 |  |  |  | 0 | 0
196 | Thomas & Betts BB2 Sta-Kon® BB Series Non-Insulated Butt Splice; 16-14 AWG, Metallic | ea | 1000 |  | Y | THOMAS & BETTS | BB2 | 107811 |  |  |  | 0 | 0
197 | Thomas & Betts CC2-TB Non-Insulated Butt Splice 12-10 AWG, Len 72 Dia | ea | 4000 |  | Y | THOMAS & BETTS | CC2-TB | 108821 |  |  |  | 0 | 0
198 | Thomas & Betts D73 Sta-Kon® Ring Terminal; 8 AWG, 3/8 Inch Stud, 1 Hole, 600 Volt, Copper, Metallic | ea | 400 |  | Y | THOMAS & BETTS | D73 | 118402 |  |  |  | 0 | 0
199 | Thomas & Betts E73 Sta-Kon® Non-Insulated Ring Terminal; 6 AWG, Electro Tin-Plated Copper, Metallic, 1.32 In x 0.6 In | ea | 400 |  | Y | THOMAS & BETTS | E73 | 118403 |  |  |  | 0 | 0
200 | Thomas & Betts 14RB-6F Sta-Kon® Vinyl Insulated Fork Terminal; 18-14 AWG, #6 Stud, Blue | ea | 500 |  | Y | THOMAS & BETTS | 14RF-6F | 127180 |  |  |  | 0 | 0
201 | Thomas & Betts C10-10F Sta-Kon® Non-Insulated Fork Terminal; 12-10 AWG, #10 Stud, Metallic | ea | 1600 |  | Y | THOMAS & BETTS | C10-10F | 110359 |  |  |  | 0 | 0
202 | Thomas & Betts 2RB14X Sta-Kon® RB Series Expanded Vinyl Insulated Butt Splice; 16-14 AWG, Blue | ea | 400 |  | Y | THOMAS & BETTS | 2RB14X | 109630 |  |  |  | 0 | 0
203 | Thomas & Betts 2RC10X RC Series Expanded Vinyl Insulated Butt Splice; 12-10 AWG, Yellow | ea | 600 |  | Y | THOMAS & BETTS | 2RC10X | 109980 |  |  |  | 0 | 0
204 | Thomas & Betts 54504 Two-Way Standard Barrel Compression Splice; 8 AWG, Red | ea | 948 |  | Y | THOMAS & BETTS | 54504 | 105426 |  |  |  | 0 | 0
205 | Thomas & Betts 54505 Color-Keyed® Two-Way Standard Barrel Compression Splice; 6 AWG, Blue | ea | 545 |  | Y | THOMAS & BETTS | 54505 | 114394 |  |  |  | 0 | 0
206 | Thomas & Betts 54506 Color-Keyed® Two-Way Standard Barrel Compression Splice; 4 AWG, Gray | ea | 40 |  |  | THOMAS & BETTS | 54506 | 109602 |  |  |  | 0 | 0
207 | Thomas & Betts 54507 Color-Keyed® Two-Way Standard Barrel Compression Splice; 2 AWG, Brown | ea | 70 |  |  | THOMAS & BETTS | 54507 | 113781 |  |  |  | 0 | 0
208 | Copper Single-Conductor, One-Hole Mount (Straight Tang), Conductor Range 14 AWG-6 | ea | 10 |  |  | THOMAS & BETTS / BLACKBURN | STC0614 | 130365 |  |  |  | 0 | 0
209 | Elastimold W62-1 Wedge Clamp and Slider; 6-2 AWG, 6-1 AWG, Aluminum | ea | 8 |  |  | THOMAS & BETTS / BLACKBURN | W62-1 | 114491 |  |  |  | 0 | 0
210 | 3M 16-14 FORK TERM BULK Non-Insulated Butted Seam Block Flanged Fork Terminal | ea | 9000 |  | Y | THOMAS & BETTS | MU14-8FFBK | 110860 |  |  |  | 0 | 0
211 | Thomas & Betts C73 12-10 RING TERM BULK NON-INS RING TERM BOLT 3/8 | ea | 2000 |  | Y | THOMAS & BETTS | C73 | 128310 |  |  |  | 0 | 0
212 | Elastimold J Grounding Clamp; 1/2 - 1 Inch Pipe, Cast Bronze Alloy | ea | 3 |  |  | THOMAS & BETTS / BLACKBURN | J |  |  |  |  | 0 | 0
213 | Elastimold JAB58H JAB Grounding Rod Clamp; 5/8 Inch Rod, Copper | ea | 18 |  |  | THOMAS & BETTS / BLACKBURN | JAB58H | 112744 |  |  |  | 0 | 0
214 | UV Resistant Standard Cable Tie With Stainless Steel Locking Device; 0.625 Inch Bundle Dia, 4 Inch Length, 18 lb Tensile Strength, Nylon 6.6, Black, Bulk | ea | 6000 |  | Y | THOMAS & BETTS | TY23MX | 113940 |  |  |  | 0 | 0
215 | UV Resistant Standard Cable Tie With Stainless Steel Locking Device; 1.750 Inch Bundle Dia, 7 Inch Length, 50 lb Tensile Strength, Nylon 6.6, Black | ea | 11000 |  | Y | THOMAS & BETTS | TY525MX | 112018 |  |  |  | 0 | 0
216 | UV Resistant Standard Cable Tie With Stainless Steel Locking Device; 4 Inch Bundle Dia, 14 Inch Length, 50 lb Tensile Strength, Nylon 6.6, Black | ea | 5000 |  | Y | THOMAS & BETTS | TY28MX | 108786 |  |  |  | 0 | 0
217 | 4-Way Cable Tie Mounting Base; 1.125 Inch x 1.125 Inch, Adhesive/Screw Mount, Nylon 6.6, Natural | ea | 100 |  |  | THOMAS & BETTS | TC5345A |  |  |  |  | 0 | 0
218 | 3M MNG14BCMX-A Scotchlok™ Moisture Resistant Nylon Insulated Butt Connector; 16-14 AWG, Blue, | ea | 1000 |  | Y | 3M DATACOMM | MNG14BCMX-A |  |  |  |  | 0 | 0
219 | Temflex, General Use Vinyl Electrical Tape, 1-1/2 in x 66 ft (38 mm x 20,1 m), 7 mil, 100 per case | ea | 1212 |  | Y | 3M COMPANY | 7000134420 |  |  |  |  | 0 | 0
220 | 3M™ Temflex™ General Use Vinyl Electrical Tape, 3/4 in x 60 ft | ea | 2105 |  | Y | 3M COMPANY | 7000008400 |  |  |  |  | 0 | 0
221 | Compression CU Reducer, Splice kit, Barrel A: #6 AWG (Flex-Str) Barrel B: #8 AWG (Flex-Str), Standard Barrel, Electro-Tin Plated | ea | 100 |  |  | BURNDY CORPORATION | YSR6CFX8CFXLTCKITC |  |  |  |  | 0 | 0
222 | BARRIER STRIP, 12-CIRCUIT, | ea | 2 |  |  | IDEAL INDUSTRIES, INC. | 89-610B |  |  |  |  | 0 | 0
223 | POWERPLUG® LUMINAIRE DISCONNECT, MODEL 102, 2-WIRE, CARD OF 25 | ea | 1 |  |  | IDEAL INDUSTRIES, INC. | 30-372 |  |  |  |  | 0 | 0
224 | DryConn Medium Direct Bury* (King 5 Red), 10pc. Bag, Max. Voltage: 600V max. building wire (1000V max. signs or luminaires), Connector Size: 2” x 13/16”, Wire Type: Copper/Copper | ea | 410 |  | Y | KING INNOVATION | 10555 | 105930 |  |  |  | 0 | 0
225 | DryConn Extra Large Direct Bury* (King 9 Dark Blue), Max. Voltage: 600V max. building wire (1000V max. signs or luminaires), Connector Size: 2 13/32” x 63/64”, Wire Type: Copper/Copper, Wire Range: Min #14/Max #6 | ea | 525 |  | Y | KING INNOVATION | 10999 | 100653 |  |  |  | 0 | 0
226 | Penetrox, Oxide Inhibiting Electrical Joint Compound, 8 OZ, For Al-Al, Al-Cu & Al Conduit Threads / Insulated Cable. | ea | 7 |  |  | BURNDY CORPORATION | PENA138 | 112264 |  |  |  | 0 | 0
227 | Copper HYLUG™ , Single Hole w/ Inspection Window,6 AWG,1/4" Stud,7 index,Blue, Short Barrel,Electro- Tin Plated | ea | 10 |  |  | BURNDY CORPORATION | YAL6CT14 |  |  |  |  | 0 | 0
228 | Copper HYLUG™ , Single Hole w/ Inspection Window,8 AWG, 1/4" Stud,49 index,Red, Short Barrel,Electro- Tin Plated | ea | 50 |  |  | BURNDY CORPORATION | YAL8CT14 |  |  |  |  | 0 | 0
229 | Aluminum Multiple Tap Connector, Clear Insulated, 2 Port, 1 Sided Entry, 10 AWG-250 kcmil, Al/Cu Rated. | ea | 3 |  |  | BURNDY CORPORATION | BIT250 |  |  |  |  | 0 | 0
230 | ROD: 5/8" & 3/4" WIRE/CABLE MIN.: 8 SOL. WIRE/CABLE MAX.: 2/0 STR. | ea | 5 |  |  | BURNDY CORPORATION | GRC3426 |  |  |  |  | 0 | 0
231 | Copper Terminal, Offset Tongue, 1 Hole, 8 AWG (Sol)-2 AWG (Str), 1/4" Stud, 1 Screw. | ea | 2 |  |  | BURNDY CORPORATION | KLU70 |  |  |  |  | 0 | 0
232 | Copper Terminal, 1 Hole, 14 AWG (Sol)-8 AWG (Str), .10" Stud, 1 Screw. | ea | 24 |  |  | BURNDY CORPORATION | KPA8C | 107869 |  |  |  | 0 | 0
233 | Aluminum Universal Terminal, 2 Conductor, 1 Hole, 14-2/0 AWG | ea | 11 |  |  | BURNDY CORPORATION | K2A26U |  |  |  |  | 0 | 0
234 | Aluminum Universal Terminal Lug; 14-1/0 AWG, Dual Rated, 1/4 inch Stud | ea | 2 |  |  | BURNDY CORPORATION | KA25U |  |  |  |  | 0 | 0
235 | One Conductor Lug; 1/4 In Hole, 6 - 2/0 AWG | ea | 7 |  |  | BURNDY CORPORATION | KA26U |  |  |  |  | 0 | 0
236 | One Conductor Lug; 5/16 In Hole, 6 AWG - 250 kcmil | ea | 3 |  |  | BURNDY CORPORATION | KA29U |  |  |  |  | 0 | 0
237 | One Conductor Lug; 1/4 In Hole, 14 - 2 AWG | ea | 5 |  |  | BURNDY CORPORATION | KA2U |  |  |  |  | 0 | 0
238 | SERVIT Split Bolt Connector; 8 Str. - 6 Sol. | ea | 30 |  |  | BURNDY CORPORATION | KS17 | 107832 |  |  |  | 0 | 0
239 | Split Bolt Connector, 8 Str. - 4 Sol., | ea | 163 |  |  | BURNDY CORPORATION | KS20 | 106912 |  |  |  | 0 | 0
240 | Servit Split Bolt Connector; 6 Str. - 2 Sol., Type KS | ea | 405 |  |  | BURNDY CORPORATION | KS22 | 104618 |  |  |  | 0 | 0
241 | Aluminum Split Bolt, (Run,Tap):: Al-Al: 1/0 AWG (Str), 1/0 AWG (Str) , Al-Cu: 2 AWG (Str), 8 AWG (Sol) , Cu-Cu: 1/0 AWG (Str), 8 AWG (Sol), Tin Plated. | ea | 78 |  |  | BURNDY CORPORATION | KSA1/0 | 100492 |  |  |  | 0 | 0
242 | Servit Mechanical Tap Single Connector; 4 Str.-10 Sol., .81 Cross Flats, | ea | 33 |  |  | BURNDY CORPORATION | KSA4 | 115078 |  |  |  | 0 | 0
243 | RITAP Servit Mechanical Tap Single Connector; 6 Str.-10 Sol., .75 Cross Flats, | ea | 2 |  |  | BURNDY CORPORATION | KSA6 | 106316 |  |  |  | 0 | 0
244 | Elastimold YT6 Underground Warning Tape; Polyethylene, Yellow, 1000 ft L x 6 Inch W x H x T, Caution Buried Electric Line Below | ea | 66 |  |  | THOMAS & BETTS / BLACKBURN | YT6 | 121750 |  |  |  | 0 | 0
245 | Wire Connector XTP NONWING ORANGE #18-#14 | ea | 3900 |  | Y | MARRETTE | 331P |  |  |  |  | 0 | 0
246 | 3M DBR/Y-6 BULK Splice Kit; 18-10 AWG | ea | 100 |  |  | 3M COMPANY | DBR/Y-6BULK |  |  |  |  | 0 | 0
247 | SWITCH BOX, 1 Gang, 1" Max Drywall | ea | 2 |  |  | ERICO | EZ101 |  |  |  |  | 0 | 0
248 | Superstrut B1400HS-10 14 Gauge Steel Half Slot Channel w/ GoldGalv Finish; 10 Feet | ea | 10 |  |  | SUPERSTRUT | B1400HS-10 |  |  |  |  | 0 | 0
249 | Superstrut CPC050 S-STRUT 1/2 COBRA PIPECLAMP | ea | 30 |  |  | SUPERSTRUT | CPC050 |  |  |  |  | 0 | 0
250 | Nut, Spring, Size 1/4 Inch, Electro-Galvanized Steel, For use with A and C Series Channel and Inserts | ea | 38 |  |  | THOMAS & BETTS | A100-1/4EGC |  |  |  |  | 0 | 0
251 | Nut, Spring, Size 3/8 Inch, Electro-Galvanized Steel, For use with A and C Series Channel and Inserts | ea | 87 |  |  | THOMAS & BETTS | A100-3/8EGC |  |  |  |  | 0 | 0
252 | Channel, 12 Gauge, 1-5/8 Inch x 1-5/8 Inch, Length 10 Feet, Aluminum | ea | 110 |  |  | THOMAS & BETTS | A120010ALC |  |  |  |  | 0 | 0
253 | 4-Hole 90 Degree Bracket; Steel, Hot-Dipped Galvanized | ea | 12 |  |  | THOMAS & BETTS | AB205HDGC |  |  |  |  | 0 | 0
254 | COPPER-BONDED GROUND ROD, POINTED | ea | 14 |  |  | ERICO | 615860 | 105922 |  |  |  | 0 | 0
255 | 61813 Cable Guards, Type B: with Flange 13B x 8, Type B: with Flange 13B x 8 | ea | 20 |  |  | SLACAN INDUSTRIES | 61813 | 103859 |  |  |  | 0 | 0
256 | 7C100M30RA ADVANCE CAPACITOR | ea | 80 |  |  | PHILIPS ADVANCE | 7C100M30RA | 127253 |  |  |  | 0 | 0
257 | Fluke 1AC II VoltAler Electrical Tester | ea | 15 | No substitute |  | FLUKE CORPORATION | Fluke 1AC II |  |  |  |  | 0 | 0
258 | Fluke T5-1000 Voltage, Continuity and Current Tester | ea | 6 | No substitute |  | FLUKE CORPORATION | Fluke T5-1000 |  |  |  |  | 0 | 0
259 | Fluke 902 FC True-RMS HVAC Clamp Meter | ea | 1 | No substitute |  | FLUKE CORPORATION | Fluke 902 FC |  |  |  |  | 0 | 0
260 | Welders Box, Protects small tools and supplies and comes with a single lock hasp for use with padlock | ea | 3 | No substitute |  | GREENLEE | 1230 |  |  |  |  | 0 | 0
261 | CHEST BOX, Recessed and concealed lock protectors for maximum security against drilling and cutting lock | ea | 1 | No substitute |  | GREENLEE | 2142 |  |  |  |  | 0 | 0
262 | CUTTER,CABLE-RATCHET | ea | 1 | No substitute |  | GREENLEE | 759 |  |  |  |  | 0 | 0
263 | BENDER,HAND-3/4" W/HANDLE | ea | 1 | No substitute |  | GREENLEE | 841AH |  |  |  |  | 0 | 0
264 | Foam Carrier, 4" | ea | 6 |  |  | IDEAL INDUSTRIES, INC. | 31-325 |  |  |  |  | 0 | 0
265 | Stripmaster Blades for 45-092, 10-22 AWG | ea | 12 |  |  | IDEAL INDUSTRIES, INC. | 45-092 |  |  |  |  | 0 | 0
266 | Klein Tools 1005 Insulated Crimping/Cutting Tool; 9-3/4 Inch Overall Length | ea | 1 | No substitute |  | KLEIN TOOLS | 1005 |  |  |  |  | 0 | 0
267 | Klein Tools 5144BHB14OS Hard-Body Aerial Bucket; 29 Pocket, Molded Polypropylene, Black | ea | 8 | No substitute |  | KLEIN TOOLS | 5144BHB14OS |  |  |  |  | 0 | 0
268 | Klein Tools 5144H Replacement Hook; Nylon 66 Polymer | ea | 16 | No substitute |  | KLEIN TOOLS | 5144H |  |  |  |  | 0 | 0
269 | Tradesman Pro 17 Pocket Tool Tote with Cover | ea | 2 | No substitute |  | KLEIN TOOLS | 55432 |  |  |  |  | 0 | 0
270 | 12 Pocket Tool Tote with Shoulder Strap | ea | 1 | No substitute |  | KLEIN TOOLS | 58888 |  |  |  |  | 0 | 0
271 | 3/16-Inch Cabinet Tip Screwdriver 6-Inch | ea | 1 | No substitute |  | KLEIN TOOLS | 601-6 |  |  |  |  | 0 | 0
272 | 7/16-Inch Nut Driver, 6-Inch Hollow Shaft | ea | 4 | No substitute |  | KLEIN TOOLS | 646-7/16 |  |  |  |  | 0 | 0
273 | Folding Hex Key Set, 5-Inch, SAE, 5-Piece | ea | 1 | No substitute |  | KLEIN TOOLS | 70579 |  |  |  |  | 0 | 0
274 | Pliers, Diagonal-Cutters, Angled Head, 8-Inch | ea | 3 | No substitute |  | KLEIN TOOLS | D2000-48 |  |  |  |  | 0 | 0
275 | Lineman's Pliers, 9-Inch | ea | 2 | No substitute |  | KLEIN TOOLS | D2000-9NE |  |  |  |  | 0 | 0
276 | Non-Contact Voltage Tester Flashlight | ea | 2 | No substitute |  | KLEIN TOOLS | NCVT-3 |  |  |  |  | 0 | 0
277 | #4 Step Drill Bit; 3/16 to 7/8 Inch, 12 Increment, 3/8 Inch 3-Flat Secure-Grip Shank, Black Oxide | ea | 2 | No substitute |  | MILWAUKEE ELECTRIC TOOL | 48-89-9204 |  |  |  |  | 0 | 0
278 | Rack-A-Tiers 70160G Robertson® Green Square Bit; #1, 6 Inch OAL | ea | 5 |  |  | RACK-A-TIERS MFG | 70160G |  |  |  |  | 0 | 0
279 | Rack-A-Tiers 70241BL Blue Phillips Power Bit; #2, 4 Inch OAL | ea | 5 |  |  | RACK-A-TIERS MFG | 70241BL |  |  |  |  | 0 | 0
280 | Rack-A-Tiers 70260R Robertson® Red Square Bit; #2, 6 Inch OAL | ea | 5 |  |  | RACK-A-TIERS MFG | 70260R |  |  |  |  | 0 | 0
281 | Greenlee 30008 Kwik Stepper® 2 Flute Multi-Hole Electrician's Step Drill Bit; 1/2, 7/8, 1-1/8 Inch, 3 Increments | ea | 2 |  |  | GREENLEE | 30008 |  |  |  |  | 0 | 0
282 | Greenlee 36414 Kwik Stepper® Split Tip Multi-Hole Step Drill Bit; 7/8 to 1-3/8 Inch, 14 Increment, 3/8 Inch 3-Flat Secure-Grip Shank, Oxide Coated | ea | 1 |  |  | GREENLEE | 36414 |  |  |  |  | 0 | 0
283 | Crouse-Hinds E-Z1016-8354 EZ1016 M P Dss No 2 To 20 Gr | ea | 4 |  |  | CR-HINDS-MOLDED PROD | E-Z1016-8354 |  |  |  |  | 0 | 0
284 | Crouse-Hinds E-Z1016-8379 EZ1016 F P Dss No 2 To 20 Gr | ea | 16 |  |  | CR-HINDS-MOLDED PROD | E-Z1016-8379 |  |  |  |  | 0 | 0
285 | Guardian 1-Gang While-In-Use Weatherproof Cover With FlexiGuard Insert; 3.060 Inch x 2-1/4 Inch x 5.500 Inch, Rectangular, Vertical Mount, Heavy-Duty Polycarbonate, Clear | ea | 42 |  |  | INTERMATIC, INC. | WP1000C |  |  |  |  | 0 | 0
286 | 1-Gang While-In-Use Cover; 2-3/4 Inch, Polycarbonate, Clear | ea | 2 |  |  | INTERMATIC, INC. | WP5100C |  |  |  |  | 0 | 0
287 | 1597-W P-S 15A 125V GFCI RCPT | ea | 12 |  |  | PASS & SEYMOUR | 1597W |  |  |  |  | 0 | 0
288 | 2097-W P-S 20A 125V 20A GFCI RCPT | ea | 26 |  |  | PASS & SEYMOUR | 2097W |  |  |  |  | 0 | 0
289 | PS5269-X Extra-Hard Use Straight Blade Connector; 15 Amp, 125 Volt AC, 2-Pole, 3-Wire, NEMA 5-15R, Black/White | ea | 4 |  |  | PASS & SEYMOUR | PS5269X |  |  |  |  | 0 | 0
290 | Leviton CR15-W Double Pole Straight Blade Duplex Receptacle; Wall Mount, 125 Volt, 15 Amp, White | ea | 7 |  |  | PASS & SEYMOUR | CR15W |  |  |  |  | 0 | 0
291 | Leviton CR20-W Double Pole Straight Blade Duplex Receptacle; Wall Mount, 125 Volt, 20 Amp, White | ea | 7 |  |  | PASS & SEYMOUR | CR20W |  |  |  |  | 0 | 0
292 | Heavy Duty Grade Toggle Switch; 1-Pole, 120/277 Volt AC, 15 Amp, White | ea | 11 |  |  | PASS & SEYMOUR | CS15AC1W |  |  |  |  | 0 | 0
293 | MaxGrip M3 Hospital Grade Straight Blade Plug; 15 Amp, 125 Volt, 2-Pole, 3-Wire, NEMA 5-15P, Yellow | ea | 21 |  |  | PASS & SEYMOUR | PS5965Y | 106267 |  |  |  | 0 | 0
294 | Extra-Hard Use Grounding M3 Straight Blade Connector; 15 Amp, 125 Volt AC, 2-Pole, 3-Wire, NEMA 5-15R, Yellow | ea | 11 |  |  | PASS & SEYMOUR | PS5969Y | 113902 |  |  |  | 0 | 0
295 | Specification Grade Straight Blade Power Outlet Receptacle; Flush Mount, 250 Volt AC, 30 Amp, 2-Pole, 3-Wire, NEMA 6-30R, Black | ea | 2 |  |  | PASS & SEYMOUR | 3801 |  |  |  |  | 0 | 0
296 | Duplex Receptacle Outlet, Extra Heavy-Duty 15 Amp, 125 Volt, Back or Side Wire, NEMA 5-15R, 2-Pole, 3-Wire, Self-Grounding - White | ea | 47 |  |  | PASS & SEYMOUR | 5262W |  |  |  |  | 0 | 0
297 | Double Pole Single Receptacle; Wall Mount, 250 Volt, 20 Amp, White | ea | 1 |  |  | PASS & SEYMOUR | 5851W |  |  |  |  | 0 | 0
298 | Double Pole Straight Blade Duplex Receptacle; Wall Mount, 125 Volt, 20 Amp, White | ea | 24 |  |  | PASS & SEYMOUR | 26342W |  |  |  |  | 0 | 0
299 | Specification Grade Grounding Miscellaneous Configurations Angled Plug; 60 Amp, 250 Volt, 3-Pole, 4-Wire, NEMA 15-60P, Yellow | ea | 4 |  |  | PASS & SEYMOUR | 5761AN |  |  |  |  | 0 | 0
300 | GATOR GRIP PLUG, YELLOW | ea | 1 |  |  | PASS & SEYMOUR | D0531 |  |  |  |  | 0 | 0
301 | 15A, 125V EXTRA-HARD USE SPEC-GRADE PLUG, WHITE FACE | ea | 22 |  |  | PASS & SEYMOUR | PS5266X |  |  |  |  | 0 | 0
302 | Extra-Hard Use Straight Blade Connector; 15 Amp, 125 Volt AC, 2-Pole, 3-Wire, NEMA 5-15R, Black/White | ea | 9 |  |  | PASS & SEYMOUR | PS5269X |  |  |  |  | 0 | 0
303 | Turnlok® Polarized Grounding Specification Grade Locking Plug; 30 Amp, 125/250 Volt, 2-Pole, 4-Wire, NEMA L14-30P, Black/White | ea | 4 |  |  | PASS & SEYMOUR | L1430P |  |  |  |  | 0 | 0
304 | Turnlok® Polarized Grounding Specification Grade Locking Plug; 20 Amp, 250 Volt AC, 2-Pole, 3-Wire, NEMA L6-20P, Black/White | ea | 1 |  |  | PASS & SEYMOUR | L620P |  |  |  |  | 0 | 0
305 | Turnlok® Locking Connector; 15 Amp, 125 Volt AC, 2-Pole, 3-Wire, NEMA L515, Black/White | ea | 35 |  |  | PASS & SEYMOUR | PSL515C | 109359 |  |  |  | 0 | 0
306 | Turnlok® Locking Plug; 15 Amp, 125 Volt AC, 2-Pole, 3-Wire, NEMA L515, Black/White | ea | 36 |  |  | PASS & SEYMOUR | PSL515P | 112058 |  |  |  | 0 | 0
307 | DOUBLE POLE, SINGLE PHASE AC MANUAL MOTOR CONTROLLER | ea | 1 |  |  | PASS & SEYMOUR | 7832MD |  |  |  |  | 0 | 0
308 | TOGGLE SWITCH OPENINGS, ONE GANG, 302/304 STAINLESS STEEL | ea | 1 |  |  | PASS & SEYMOUR | SS1 |  |  |  |  | 0 | 0
309 | DUPLEX RECEPTACLE OPENINGS, ONE GANG, 302/304 STAINLESS STEEL | ea | 1 |  |  | PASS & SEYMOUR | SS8 |  |  |  |  | 0 | 0
310 | Flexcor® Straight Strain Relief Grip with Insulating Bushing; 0.520 - 0.730 Inch Dia, Steel | ea | 2 |  |  | PASS & SEYMOUR | BOX52 |  |  |  |  | 0 | 0
311 | SUPPORT GRIPS STANDARD DUTY, CLOSED MESH | ea | 9 |  |  | PASS & SEYMOUR | FC150U |  |  |  |  | 0 | 0
312 | Flexcor® Service Support Single Eye Closed Wire Mesh Grip; 0.400 - 0.560 Inch Dia, 9 Inch Bale Length, 3.5 Inch Mesh Length, Galvanized | ea | 4 |  |  | PASS & SEYMOUR | FC40 |  |  |  |  | 0 | 0
313 | Flexcor® Service Support Single Eye Closed Wire Mesh Grip; 0.530 - 0.730 Inch Dia, 9 Inch Bale Length, 6.5 Inch Mesh Length, Galvanized | ea | 2 |  |  | PASS & SEYMOUR | FC52 |  |  |  |  | 0 | 0
314 | Bus Drop Grip SNG U EYE .94-1.25 DIA | ea | 12 |  |  | PASS & SEYMOUR | FC94 |  |  |  |  | 0 | 0
315 | Weatherproof Cover, Decorator or Ground Fault Circuit Interrupter, Horizontal Self Closing Flip Lid, Gray with Black Gasket | ea | 6 |  |  | PASS & SEYMOUR | 3726SC |  |  |  |  | 0 | 0
316 | Weatherproof Cover, Duplex Horizontal, 2 Position Flip Lids, Gray with Black Gasket | ea | 2 |  |  | PASS & SEYMOUR | 3780 |  |  |  |  | 0 | 0
317 | Decorator Duplex Receptacle; Wall Mount, 125 Volt, 15 Amp, 2-Pole, 3-Wire, NEMA 5-15R, White | ea | 3 |  |  | PASS & SEYMOUR | 885W |  |  |  |  | 0 | 0
318 | Double Pole Single Receptacle; Wall Mount, 250 Volt, 20 Amp, Ivory | ea | 2 |  |  | PASS & SEYMOUR | 5851I |  |  |  |  | 0 | 0
319 | Duplex Grounding Receptacle 15A125V SCREW TERM WHT | ea | 4 |  |  | PASS & SEYMOUR | 3232W |  |  |  |  | 0 | 0
320 | Toggle Switch; 1-Pole, 120 Volt AC, 15 Amp, White | ea | 1 |  |  | PASS & SEYMOUR | 660WG |  |  |  |  | 0 | 0
321 | CAST WEATHERPROOF COVER DUPLEX RECEPTACLE HORIZONTAL, GRAY | ea | 4 |  |  | PASS & SEYMOUR | CA8GH |  |  |  |  | 0 | 0
322 | 1-Gang Standard-Size Mounted Blank Wallplate; Box Mount, Thermoplastic, White | ea | 1 |  |  | PASS & SEYMOUR | TP13W |  |  |  |  | 0 | 0
323 | 1-Gang Standard-Size Toggle Switch Wallplate; Wall Mount, Thermoplastic Nylon, White | ea | 2 |  |  | PASS & SEYMOUR | TP1W |  |  |  |  | 0 | 0
324 | 1-Gang Standard-Size GFCI Decorator Wallplate; Wall Mount, Nylon, White | ea | 2 |  |  | PASS & SEYMOUR | TP26W |  |  |  |  | 0 | 0
325 | 2-Gang Standard-Size Duplex Receptacle Wallplate; Wall Mount, Nylon, White | ea | 1 |  |  | PASS & SEYMOUR | TP82W |  |  |  |  | 0 | 0
326 | Chemical Resistant 1-Gang Duplex Receptacle Wallplate; Wall Mount, Nylon, White | ea | 2 |  |  | PASS & SEYMOUR | TP8W |  |  |  |  | 0 | 0
327 | B-Line Systems BC1 1/2-Inch Conduit To Beam Fastener | ea | 30 |  |  | COOPER B-LINE | BC1 |  |  |  |  | 0 | 0
328 | Ty-Rap® UV Resistant Standard Cable Tie With Stainless Steel Locking Device; 3.5.00 Inch Bundle Dia, 13 Inch Length, 120 lb Tensile Strength, Nylon 6.6, Black | ea | 41000 |  | Y | THOMAS & BETTS | TY27MX |  |  |  |  | 0 | 0
329 | Dueacell AA | ea | 50 |  |  | DURACELL | AA |  |  |  |  | 0 | 0
330 | Durracell AAA | ea | 50 |  |  | DURACELL | AAA |  |  |  |  | 0 | 0
331 | WIRE PULLING LUBRICANT, 1 GALLON BUCKET | ea | 16 |  |  | IDEAL INDUSTRIES, INC. | 31-277 | 119318 |  |  |  | 0 | 0
332 | ClearGlide™ Non-Flammable Wire Pulling Lubricant; 1 qt, Squeeze Bottle, Clear | ea | 44 |  |  | IDEAL INDUSTRIES, INC. | 31-388 | 100312 |  |  |  | 0 | 0
333 | Foam Carrier; 1-1/2 Inch Duct | ea | 10 |  |  | IDEAL INDUSTRIES, INC. | 31-470 | 127709 |  |  |  | 0 | 0
334 | Foam Carrier; 2 Inch, 1/Bag | ea | 80 |  |  | IDEAL INDUSTRIES, INC. | 31-471 | 127708 |  |  |  | 0 | 0
335 | Heat-Shrinkable HSB Series Breakout Boots for Cable Range 4 AWG - 600 MCM, Expanded Dia. 2.36, Length 7.95 inch, rated for 600 Volt, | ea | 1 |  |  | THOMAS & BETTS | HSB175-82-4 |  |  |  |  | 0 | 0
336 | Heavy-Wall Heat-Shrinkable Tubing for Cable Range 8 - 6 AWG, Expanded Diameter 0.51 inch, Length 48 inch, rated for 600 Volt, | ea | 2 |  |  | THOMAS & BETTS | HS12-6-4 |  |  |  |  | 0 | 0
337 | Scotch® 130C-Series Premium Grade Linerless Splicing Tape; 30 ft x 2 Inch x 30 mil, Ethylene Propylene Rubber, Black | ea | 30 |  |  | 3M COMPANY | 130C-2X30FT |  |  |  |  | 0 | 0
338 | Scotch® 130C-Series Premium Grade Linerless Splicing Tape; 30 ft x 3/4 Inch x 30 mil, Ethylene Propylene Rubber, Black | ea | 12 |  |  | 3M COMPANY | 130C-3/4X30FT |  |  |  |  | 0 | 0
339 | 3M 1755-3/4X60FT-20RLS Temflex™ 1755 Series Economy Grade Friction Tape; 60 ft Length x 3/4 Inch Width x 13 mil Thick, Black | ea | 4 |  |  | 3M COMPANY | 1755-3/4X60FT |  |  |  |  | 0 | 0
340 | Electrical Color Coding Tape; 600 Volt, 66 ft Length x 3/4 Inch Width x 7 mil Thick, Blue | ea | 80 |  |  | 3M COMPANY | 3M 1700C-BLUE |  |  |  |  | 0 | 0
341 | Electrical Color Coding Tape; 600 Volt, 66 ft Length x 3/4 Inch Width x 7 mil Thick, Green | ea | 60 |  |  | 3M COMPANY | 3M 1700C-GREEN |  |  |  |  | 0 | 0
342 | Electrical Color Coding Tape; 600 Volt, 66 ft Length x 3/4 Inch Width x 7 mil Thick, Orange | ea | 48 |  |  | 3M COMPANY | 3M 1700C-ORANGE |  |  |  |  | 0 | 0
343 | Electrical Color Coding Tape; 600 Volt, 66 ft Length x 3/4 Inch Width x 7 mil Thick, Red | ea | 50 |  |  | 3M COMPANY | 3M 1700C-RED |  |  |  |  | 0 | 0
344 | Electrical Color Coding Tape; 600 Volt, 66 ft Length x 3/4 Inch Width x 7 mil Thick, White | ea | 100 |  |  | 3M COMPANY | 3M 1700C-WHITE |  |  |  |  | 0 | 0
345 | Electrical Color Coding Tape; 600 Volt, 66 ft Length x 3/4 Inch Width x 7 mil Thick, Yellow | ea | 40 |  |  | 3M COMPANY | 3M 1700C-YELLOW |  |  |  |  | 0 | 0
346 | Electrical Insulation Putty; 60 Inch x 1.500 Inch, Putty Backing/Mastic Adhesive, Black | ea | 18 |  |  | 3M COMPANY | SCOTCHFIL |  |  |  |  | 0 | 0
347 | 88-Super Series Premium Grade Electrical Tape; 600 Volt, 66 ft Length x 3/4 Inch Width x 8.5 mil Thick, Black | ea | 1940 |  | Y | 3M COMPANY | 88-SUPER-3/4X66FT |  |  |  |  | 0 | 0
348 | 3M™ Temflex™ Cotton Friction Tape, 1755, black, 13 mil (0.33 mm), 3/4 in x 60 ft (19 mm x 183 mm) | ea | 3 |  |  | 3M COMPANY | 1755-3/4X60FT |  |  |  |  | 0 | 0
Note: | The items with blank under column "Substitue yes/no" can be substitued
The items with blank under column "Critical Item" will be considered as Non Critical Item