## 1. Cover
OFFERED BY
Company Name
RFP - PS20200964 - PROVISION OF ELECTRIC VEHICLE CHARGING STATIONS
Instructions for completing these forms are located on Tab: 2. Instructions.
City of Vancouver Confidential Information
The information contained in this Request for Proposal is confidential and proprietary to the City of Vancouver and is to be used by the recipient solely for the purpose of responding to this RFP. This RFP shall be destroyed or returned to the City of Vancouver upon request.

## 2. Instructions
EXPANDING CITY OF VANCOUVER'S EXISTING PUBLIC ELECTRIC VEHICLE CHARGING NETWORK
RFP - PS20200964 - PROVISION OF ELECTRIC VEHICLE CHARGING STATIONS
Completing Appendix 1 - Requirements
1 | Provide company name on Tab 1. Cover in cell highlighted in yellow.
2 | Tab 2. Instructions - These are the instructions for completing Appendix 1
3 | Review Tab 3 & 4 Complete as instructed below
Appendix 1 - Technical Requirements
This Workbook contains multiple Tabs (or Worksheets). Please read the following instructions to ensure that the Proponent completes and/or reviews all the information required for each Tab.
* Please complete ONLY cells highlighted in YELLOW throughout this workbook*
For all "Required" City Conditions please check "Yes" if Proponent can meet the requirements as stated in the "Description" column; also provide the page # in the "Identify All Deviations/Stated Value" column where Proponent demonstrates ability to meet required condition if applicable. For all "Required" City Conditions please check "No" if Proponent cannot meet the requirements as stated in the "Description" column; please include a description of the Proponents proposed deviation from the stated requirements in the "Identify All Deviations/Stated Value" column.
For all "Provide" City Conditions please state Proponents response to the requirement as stated in the "Description" column in the "Proponents Indicative Deviations and Stated Value" column. Provide the page # in the "Bidder Page # Reference" column where Proponent demonstrates ability to meet required condition if applicable.
For all "State" City Conditions please state Proponents response to the requirement as stated in the "Description" column in the "Identify All Deviations/Stated Value" column. Please state any applicable values in the suggested units. Please do not leave any "State" City Conditions blank. If information is unknown or unavailable, please state this in the "Identify All Deviations/Stated Value" column. Provide the page # in the same column where Proponent demonstrates ability to meet required condition if applicable.
For all "Optional" City Conditions please check "Yes" if Proponent can meet the requirements as stated in the "Description" column or "No" if Proponent cannot meet the requirements as stated in the "Description" column. If "No" please include a description of the Proponents proposed deviation from the stated requirements in the "Proponents Indicative Deviations and Stated Value" column. Provide the page # in the "Bidder Page # Reference" column where Proponent demonstrates ability to meet required condition if applicable.

## 3. Specifications
Specifications and Documentation:
Supplier's Name:________________________________________ |  | Make & Model of Proposed Equipment:__________________________________________
| Description | City Conditions | Compliance Yes / No | Identify All Deviations / Stated Values
Overview
| Four (4) ABB Wallbox DC Chargers (6AGC081362) or equivalent | State | Please Choose
Technical Specifications
| Minimum DC output of 800VDC. | Required | Please Choose
| Minimum charging power of 23kW (peak) | Required | Please Choose
| Connector compliance with Society of Automotive Engineers (SAE) Combined Charging System 1 (CCS1) | Required | Please Choose
| Wall-mounted with mounting hardware provided | Required | Please Choose
| CSA, cUL or other recognized certification approved for use in Canada | Required | Please Choose
At a minimum:
| - One year warranty | Required | Please Choose
| - 24/7 customer support call centre | Required | Please Choose
| Weatherproof to minimum of NEMA 3 | Required | Please Choose
| Charging station cord is a minimum of 7m in length | Required | Please Choose
| Over-current protection that prevents circuit breaker trips | Required | Please Choose
| Must automatically continue to provide a charge to the EV if station loses network connectivity or if remote station management system is offline. | Required | Please Choose
Installation Services
| Utilizes only licensed electrical contractors within Province of BC | Required | Please Choose
| All work to be completed under appropriate permit and installation to meet Canadian electrical code requirements | Required | Please Choose
Network Services
Hardware communications protocol must integrate with selected network management platform. The following information and controls must be available from the EV charging station to the Network Operations Centre:
| - EV Charging station status | Required | Please Choose
| - Error messages | Required | Please Choose
| - Control functions | Required | Please Choose
| - Operating data | Required | Please Choose
| Supports remote firmware upgrades | Required | Please Choose
| Data access: off-site database shall be accessible to a City administrator via a web browser. Website shall provide historical data, real time usage and status information. | Required | Please Choose
Data reporting to a City network administrator must include at a minimum:
| - Session details that include time-of-day for session start and stop, connected time, active charging time, kWh delivered, session completion description (i.e. – ended by user, charging complete, station fault, etc). | Required | Please Choose
| - Station-by-station utilization | Required | Please Choose
| - Total up-time per station | Required | Please Choose
| - Station availability by time at each location | Optional | Please Choose
| Proponent is responsible for enabling cellular connectivity to a data network prior to shipping the unit(s). | Required | Please Choose
| For open network protocol providers, compliance with all of Open Charge Point Protocol (“OCPP”, minimum v.1.6). | Required | Please Choose
Standard Documentation
Please provide the following documentation:
| - Data sheets of the charging station | Required | Please Choose
| - Specifications for any electrical metering included with your hardware | Required | Please Choose
| - Mounting instructions | Required | Please Choose
| - Wiring and installation diagrams | Required | Please Choose

## 4. Options
Options
Supplier's Name:________________________________________
| Description | City Conditions | Compliance Yes / No | Identify All Deviations / Stated Values
Options
The City of Vancouver would like information on optional equipment that may be selected in addition to or in place of those specified in Item 1.
Option 1
| Extended Warranty | Optional | Please Choose
| - Description of what is offered. | State
| - Details of manufacturer's extended warranty. | State
| - Limitations / Exclusions from manufacturer's extended warranty | State
Option 2
| Load Management options. | Optional | Please Choose
| - Detailed description of what is offered. | State
Option 3
| Pedestal Mount for Chargers. | Optional | Please Choose
Option 4
|  | Optional | Please Choose
Option 5
|  | Optional | Please Choose