## CCTV
PART B - APPENDIX 2 - REFM - CPS - SECURITY SYSTEMS INVENTORY 2021
Site Name | Site Address | Business Unit | Digital Or Analog | Connectivity To Network | CCTV Installation Year | Number of Indoor Cameras | Number of Outdoor Cameras | Total Cameras | Cameras Make/Model | NVR/DVR Size (TB) | NVR/DVR Make | NVR Software | NVR Connectivity To Network | NVR Channels
AV Lot | 1150 SE Kent Ave. | ENG | Analog | Analog | 2009 | 6 |  | 6 | Bosch | 500 GB | Bosch | Bosch | Ethernet IP | 1 @16
Mount Pleasant Community Centre | 1 Kingsway | Parks | Analog | Analog | 2012 | 23 |  | 23 | Avigilon | 2 TB | Avigilon |  | Ethernet/ IP | 24
Orpheum Theatre | 885 Seymour St. | ACCS | Digital | Analog | 2019 | 8 |  | 8 | Panasonic | 4 TB | Milestone | Milestone | Ethernet/IP | 1 @ 32 - 64
Vancouver Aquatics Center | 1050 Beach Avenue | Parks | Analog | Analog | 2009 | 5 |  | 5 | Honeywell
Coal Harbour Community Center | 480 Broughton | Parks | Analog | Analog | 2009 | 11 |  | 11 | Pelco | 50 Gb | DigitalSprite |  |  | 16
814 Richards | 814 Richards Street | REFM | Analog | Analog | 2009 | 6 |  | 6 | Axis | 250 GB | Pelco DX 4700 Series | Milestone | Ethernet/ IP | 8
Kitsilano Community Centre | 2690 Larch St | Parks | Analog | Analog | 2009 | 15 |  | 15 | Bosch | 500 GB | HikVision |  | N/A | 16
National Yard | 701 National | ENG | Analog | Analog | 2009 | 29 |  | 29 | Pelco | 500 GB | Pelco DX 4700 Series | Milestone | Ethernet/ IP | 2 @ 16
Killarney Community Centre | 6260 Killarney Street | Parks | Analog | Analog | 2009 | 17 |  | 17 | Batko | 500 GB | KCC-Four-Nsystem | Milestone | N/A | 24
Creekside Community Recreation Center | 1 Athletes Way | Parks | Analog | Analog | 2009 | 14 |  | 14 | Bosch | 2 TB | Samsung |  | Analog | 16
Sunset Service Yard | 290 East 51st | Parks | Analog | Analog | 2009 |  | 6 | 6 | Defender | 320 Gb | DVR Defender |  | Analog | 8
311 Call Centre | 1800 Spyglass Pl | REFM | Both | Analog | 2009/2018 | 4 |  | 4 | Pelco | 4 TB | IoNodes | Milestone | Ethernet/ IP
Manitoba Yard | 250 West 70 Ave | ENG | Analog | Analog | 2009 | 45 |  | 45 | Pelco | 2 TB - 4 TB | Pelco H | DS Control | Ethernet/IP | 1 @ 32
City Impound | 425 Industrial Ave | ENG | Analog | Analog | 2018 | 26 |  | 26 | Pelco - Fixed | 12 TB | Milestone | Milestone | Local | 1 @ 32
Landfill | 5400 72nd St, Delta | ENG | Analog | Analog | 2019 | 24 |  | 24 | Axis | 2 TB | Milestone | Milestone & DS Control | Ethernet/IP | 1 @ 32
New Continental Residence | 1067 Seymour St | ACCS | Digital | Analog | 2020 | 21 |  | 21 | Axis - 2MP | 1 TB | Milestone | Milestone |  | 1 @16
Evelyn Saller Community Centre | 320 Alexander Street | ACCS | Analog | Analog | 2009 | 14 |  | 14 | Bosch |  | Samsung |  |  | 1 @ 16
False Creek Community Centre | 1318 Cartwright Street | Parks | Analog | Analog | 2009 | 9 |  | 9 | Acti | 50 GB | DigitalSprite |  | Analog | 16
Champlain Heights Community Centre | 3350 Maquinna Dr | Parks | Analog | Analog | 2010 | 14 |  | 14 | Swann | 500 GB | Swann |  | Local | 16
Fraserview Golf Course | 7800 Vivian Dr | Parks | Analog | Analog | 2000 | 7 |  | 7 |  | 500 MB | Digital Sprite |  | Analog | 8
Langara Golf Course | 6706 Alberta St. | Parks | Analog | Analog | 2000 | 5 |  | 5 | Samsung |  | DigitalSprite |  | N/A | 8
Vernon Silt Recovery | 1599 Vernon Drive | ENG | Analog | Analog | 2018 | 5 |  | 5 | Pelco | 250 GB | Pelco 4500 Series |  | N/A | 1 @ 8
Strathcona Community Centre | 601 Keefer St | Parks | Digital | Digital | 2019 | 19 |  | 19 | Axis | 8 TB | IoNodes | Milestone | Digital
Gathering Place | 609 Helmcken St | ACCS | Digital | Ehternet/IP | 2017 | 14 |  | 14 | Pelco - Fixed | 4 TB | ExaqVision |  | Ethernet/IP (LAN) | 1 @ 16
Evans Yard | 955 Evans Avenue | ENG | Digital | Ethernet / IP | 2018 | 20 |  | 20 | Axis | 1 ,24 TB/ 1 ,8TB | 1 Milestone, ! Ionodes |  | Network Drop
Animal Control - Animal Shelter | 1280 Raymur Ave | ACCS | Digital | Ethernet / IP | 2016 | 12 |  | 12 | Axis - 2 MP | 4 TB | Milestone | Milestone | Ethernet/ IP | 1 @ 32 - 64
Hillcrest Community Center | 4575 Clancy Loranger Way | Parks | Digital | Ethernet / IP | 2019 | 27 |  | 27 | Axis | 12 TB | IoNodes | Milestone 2016 | Ethernet | License 28 w/Base
E- Comm/ EOC (Event Cameras) | 3301 E. Pender St. | VEMA | Digital | Ethernet / IP | 2016 | 5 |  | 5 | APC
Burrard Marina | 1655 Whyte Ave | Parks | Digital | Ethernet / IP | 2015 | 7 |  | 7 | Axis 1.3 MP | 4 TB | Milestone | Milestone | Ethernet/IP | 32
Trout Lake Community Centre | 3360 Victoria Drive | Parks | Digital | Ethernet /IP | 2015 | 9 |  | 9 | Axis | 4 TB | Milestone | Milestone | Ethernet/IP | 32
Hastings Community Centre | 3096 E Hastings | Parks | Digital | Ethernet IP | 2019 | 19 |  | 19 | Axis 2MP | 8 TB | IoNodes | Milestone | Ethernet IP
Modular Housing | 220 Terminal Ave | ACCS | Digital | Ethernet IP | 2016 | 11 |  | 11 | TruVision | 2 TB | TruVision NVR 215 |  |  | 1 @16-32
Kingsway Continental (Old Ramada) | 3484 Kingsway | ACCS | Digital | Ethernet IP | 2016 | 21 |  | 21 | Axis | 2 TB | Milestone | Milestone | Ethernet/IP
Alexander Lodge | 58 Alexander St | ACCS | Digital | Ethernet IP | 2016 | 3 |  | 3 | Axis |  |  | Milestone | Ethernet/IP | 1 @ 16-32
Neighbourhood Energy Utility | 1890 Spyglass Place | ENG | Both | Ethernet/ IP | 2010 | 6 |  | 6 | Pelco | 250 GB | Pelco 47xx Series | Pelco | Ethernet/IP | 1 @ 8
Coal Harbour Pump Station | 1400 West Hastings St | ENG | Digital | Ethernet/ IP | 2014 | 3 |  | 3 | Pelco - PTZ
Granville Residence | 1261 Granville Street | ACCS | Digital | Ethernet/IP | 2020 | 20 |  | 20 | Axis | 2 TB | Milestone | Milestone | Ethernet/IP | 1 @ 16-32
False Creek Pump Station | 1400 Homer St | ENG | Digital | Ethernet/IP | 2014 | 5 |  | 5 | Pelco - PTZ | 2 TB | Pelco/RS2 | Milestone | Ethernet/ IP | 1 @ 16-32
Thunderbird Community Centre | 2311 Cassiar St | Parks | Digital | Ethernet/IP | 2015 | 9 |  | 9 | Axis | 4 TB | Milestone | Milestone | Ethernet / IP | 32-64
Gresham Residence | 716 Smithe Street | ACCS | Digital | Ethernet/IP | 2020 | 10 |  | 10 | Axis | 2 TB | Milestone | Milestone | Ethernet/IP | 1 @ 16-32
Central Residents | 42 E Cordova St | ACCS | Digital | Ethernet/IP | 2015 | 5 |  | 5 | Axis |  | Milestone | Milestone | Ethernet/IP | 1 @ 16-32
QE Theatre | 649 Cambie St | ACCS | Digital | IP | 2019 | 17 |  | 17 | Axis | 4 TB | Milestone | Milestone | Ethernet/IP | 1 @ 16- 32
Killarney CC Senior Centre | 6261 Killarney St | Parks | Digital | IP | 2018 | 6 |  | 6 | Axis |  | Milestone | Milestone | IP | 1
Annex | 823 Seymour St | ACCS | Digital | IP | 2019 | 2 |  | 2 | Unknown |  | DVR - Unknown
Oppenheimer Lodge | 450 E Cordova St | ACCS | Digital | IP | 2020 | 9 |  | 9 | Axis | 160 GB | Milestpone | Milestone |  | 1 @ 8 - 16
Kerrisdale Community Centre | 5851 West Boulevard | Parks | Analog | N/A | 2009 | 16 |  | 16 | Bosch | 240 GB | Bosch DVR |  | N/A | 16
800 Burrard Street | 800 Burrard St. | REFM | Analog | Power | 2010 |  | 46 | 46 | Pelco |  | DVR- Avigilon
Beatty/Robson East |  | VEMA |  | Power | 2010 |  | 1 | 1 | Pelco |  | Avigilon |  | POE
Beatty/Robson South |  | VEMA |  | Power | 2010 |  | 1 | 1 | Pelco |  | Avigilon |  | POE
Stanley Park Train | 690 Pipeline Rd | Parks | Analog |  | 2008 | 3 |  | 3 | Sanyo | 50 GB | Bosch | Milestone |  | 8
Britannia Community Centre | 1661 Napier St | Parks | Analog |  | 2009 | 16 |  | 16 | 8 Samsung, 8 Bosch | 500 GB | HikVision |  | Analog | 16
Woodwards | 111 W Hastings | ACCS | Digital |  | 2019 | 1 |  | 1 | Axis 2MP | 50 GB | Pelco | (Milestone/ DS Control) |  | 1 @ 8
Vancouver Fire and Rescue Training Centre | 1330 Chess St | VFRS | Digital |  | 2020 | 3 |  | 3
Sunset Community Centre | 6810 Main St | Parks | Analog |  | 2012 | 8 |  | 8 | Sanyo | 960 GB | Samsung |  |  | 8
Vancouver Landfill - RDO | 72nd - Delta | ENG | 1 |  | 2020 | 0 | 22 | 22 |  | 24 |  | 150245
Vancouver Landfill | 72nd - Delta | ENG | 1 |  |  |  |  | 0
Kent Yard | 900 Kent Ave NW | ENG | [5 empty] | 0 |  | 2 TB | Milestone | Milestone | Ethernet/IP | 1 @ 16-32
Vancouver Zero Waste Centre | 8588 Yukon St. | ENG | [5 empty] | 0 |  |  | Milestone | Milestone
McCleery Golf Course Club House | 7188 Macdonald Street | Parks | Analog |  | 2000 | 8 |  | 8 | 6 Amsung, 1 Batko, 1 Pelco | 2 TB | Digital Sprite |  | Analog | 32

## Intrusion.Panic Duress Alarm
Site Name | Site Address | Business Unit | Alarm System Type (Intrusion / Panic/Duress | Intrusion Alarm Make / Model | Instrusion Monitoring Company | Instrusion Alarm Account Number | Zone Listing | Alarm Installation Date | Permit # | Account Phone Line# | Monitoring Type (GSM, Analogue)
123 E 6th Ave | 123 E 6th Ave | Parks | Yes | Unknown | Counterforce | IP03 4695
1430 Burrard St | 1430 Burrard St | Parks | Yes | Unknown | Counterforce | IP02 1317
1568 W 8th Ave | 1568 W 8th Ave | Parks | Yes | Unknown | Counterforce | IP13 0807
1652 W 5th Ave | 1652 W 5th Ave | REFM | Yes | NEO HS4016
2031 Stainsbury Ave | 2031 Stainsbury Ave | REFM | Yes | Ademco Vista 20p | Counterforce | IP13 1288
2068 W 6th Ave | 2068 W 6th Ave | REFM | Yes | NEO HS4016 | Counterforce | IP13 0806
2930 Renfrew St | 2930 Renfrew St | Parks | Yes | Unknown | Counterforce | X1 0494
311 Call Centre | 1800 Spyglass Pl | REFM | Yes | Unknown | Counterforce | I650 2729
316 E 8th Ave | 316 E 8th Ave | REFM | Yes | NEO HS4016
345 Robertson Ave | 345 Robertson Ave | REFM | Yes | NEO HS4016
345 Robson Street | 345 Robson Street | Parks | Yes | Unknown | Counterforce | IP13 1293 (Rm 103) / IP03 5723 (Rm 104)
525 Abbott Street | 525 Abbott Street | REFM | Yes | Honeywell | Counterforce | I650 2720
777 Pacific Street | 777 Pacific Street | REFM | Yes | Unknown | Counterforce | IP03 4948
875 Terminal Ave | 875 Terminal Ave | REFM | Yes | NEO HS4016 | Counterforce | IP02 1739
916 W Broadway | 916 W Broadway | REFM | Yes | Unknown | Counterforce | IP04 6150
Abandoned Vehicle Lot | 1150 SE Kent Ave. | ENG | Yes | Unknown | Counterforce | I650 2652
Alexander Lodge | 58 Alexander St | ACCS | Yes | Unknown
Andy Livingston Park | 89 Expo Blvd | Parks | Yes | Ademco Vista 20p | Counterforce | I650 2630
Animal Control - Animal Shelter | 1280 Raymur Ave | ACCS | Yes | Unknown | Counterforce | I650 2716 (intrusion) / I650 3989
Archives Storage | 2635 Kaslo | Parks | Yes | Unknown | Counterforce | I650 2713
Atelier Daycare | 825 Homer St #326 | REFM | Yes | Unknown | Counterforce | I650 7416
Balmoral Hotel | 159 East Hastings St | REFM | Yes | Unknown | Counterforce | X1 0720
Barclay Manor | 1447 Barclay St | ACCS | Yes | Unknown | Counterforce / Telus | ID02 1572 (Counterforce) / AW2513 (Telus)
Britannia Community Centre - Pool | 1661 Napier St | Parks | Yes | NEO HS2064 | Counterforce | I650 7582
Britannia Community Centre - Rink | 1661 Napier St | Parks | Yes | NEO HS2064 | Counterforce | I650 7581
Building 14 - School of Music | 1270 Chestnut St | REFM | Yes | DSC PC 1832 | Counterforce | I650 2717
Burrard Marina | 1655 Whyte Ave | Parks | Yes | Ademco Vista 20p | Counterforce | I650 7585
By-Law Prosecutor's Office | 900 Howe St, Suite 270 | Parks | Yes | Unknown | Counterforce | I650 7414
Cambie Parkade | 2615 Cambie Street | REFM | Yes | Unknown | Counterforce | IP12 3761
Carnegie Community Centre | 401 Main St | ACCS | Yes | Ademco Vista 50p | Counterforce | I650 1022
Champlain Heights Community Centre | 3350 Maquinna Dr | Parks | Yes | Ademco Vista 50p
China Creek North Pump House Washroom | 1001 E 7th Ave | Parks | Yes | Unknown | Counterforce | IP02 1603
City Hall | 453 West 12th | REFM | Yes | Unknown | Counterforce | IP13 1292-City Hall East Annex Alarm I650 748-City Hall Panic Alarms I650 7563-City Hall Panic Alarms 8th FLR IP13 1295-City Hall Second Floor Directors Office IP12 2722-City Hall Subground ID02 4762-City Hall ULC I650 0242-Training Centre I650 0243-IT Projects Office I650 0241-Revenue Services Cash Office I650 2631-Revenue Services Vault
City Hall Daycare | 2685 Cambie Street | REFM | Yes | Unknown | Counterforce | I650 2721
Coal Harbour Community Center | 480 Broughton | Parks | Yes | Ademco Vista 50p
Coal Harbour Pump Station | 1400 West Hastings St | ENG | Yes | Unknown | Counterforce | I650 2712
Creekside Community Recreation Center | 1 Athletes Way | Parks | Yes | Ademco Vista 128 BP | Telus | AG2015 - Intrusion AG2010 – Intrusion Sump Pump
Crossroads | 507 West Broadway | ENG | Yes | DSC PC1832 (3rd F) / DSC PC1863 (5th F) / Ademco Vista 20p (Suite 385) | Counterforce | I650 2634 - Crossroads Suite 385 I650 7485 - Crossroads Floor 3, 4, 5 I650 7580 - Crossroads Floor 5, 6, 7
Crossroads - City Lab | 511 W Broadway | REFM | Yes | Ademco Vista 20p | Counterforce | I650 2718
Days Inn | 2075 Kingsway | Parks | Yes | Unknown | Counterforce | IP04 7025
Delta Landfill - Admin | 5400 72nd St, Delta | ENG | Yes | DSC PC 4020 |  | I650 7509 - Vancouver Landfill Scale house I650 2651 - Vancouver Landfill I650 0239 - Vancouver Landfill Kiosk I650 7583 - Vancouver Landfill Old Kiosk ID02 5462 - Vancouver Landfill Fire Technical Trailer
Delta Landfill - North Kiosk | 5400 72nd St, Delta | ENG | Yes | Unknown
Delta Landfill - Scale House | 5400 72nd St, Delta | ENG | Yes | DSC NEO HS2032
Douglas Park Community Centre | 801 West 22nd Avenue | Parks | Yes | Unknown
Dunbar Community Centre | 4747 Dunbar St | Parks | Yes | Unknown | Counterforce | I650 7553
Echelon - 3rd Floor - LEGAL | 575 W 8th Ave. | REFM | Yes | NEO HS4016
Echelon - 5th Floor - VFRS | 575 W 8th Ave. | VFRS | Yes | NEO HS4016
Echelon - 6th Floor | 575 W 8th Ave. | REFM | Yes | NEO HS4016
Echelon Site | 555 & 575 West 8th Avenue | REFM | Yes | Unknown | Counterforce | I650 0238 - Echelon 555 5th Floor I650 7587 - Echelon VFS 6th Floor I650 2635 - Echelon 3rd Floor, 575
False Creek Community Centre | 1318 Cartwright Street | Parks | Yes | Ademco Vista 50p | Telus | AW2538
False Creek Pump Station | 1400 Homer St | ENG | Yes | Unknown | Counterforce | I650 2654
Fraserview Golf Course - Clubhouse | 7800 Vivian Dr | Parks | Yes | Ademco Vista 50p | Counterforce | I650 7554 - Fraserview Clubhouse/Proshop
Fraserview Golf Course - Driving Range | 7800 Vivian Dr | Parks | Yes | Ademco Vista 4110 XMP | Counterforce | I650 7555 - Fraserview Driving Range
Fraserview Golf Course - Maintenance Building | 7800 Vivian Dr | Parks | Yes | Ademco Vista 4110 XMP | Counterforce | I650 7556 - Fraserview Maintenance
Fraserview Golf Course - Maintenance Garage Yard | 7800 Vivian Dr | Parks | Yes | Ademco Vista 4110 XMP | Counterforce | I650 7556 - Fraserview Maintenance
Gastown Daycare - Cordova | 151 Cordova St | REFM | Yes | Unknown | Counterforce | IP04 7243
Gastown Daycare - Water St | 150 Water St | REFM | Yes | Unknown | Counterforce | IP04 7244
Gathering Place | 609 Helmcken St | ACCS | Yes | Ademco Vista 128 BPT
Granville Residence | 1261 Granville Street | ACCS | Yes | DSC PC 5110 | Counterforce | ID02 6266
Gresham Residence | 716 Smithe Street | ACCS | Yes | Unknown | Counterforce | IP020783
Hastings Community Centre | 3096 E Hastings | Parks | Yes | Ademco Vista 128 BPT | Counterforce / Telus | AW2521 – Telus I650 2723 – Counterforce
Hillcrest Community Center | 4575 Clancy Loranger Way | Parks | Yes | DSC 4020 | Counterforce | I650 1023,
Info Booth - Stanley District | 715 Stanley Park Dr | Parks | Yes | Ademco Vista 10p
Jericho Service Yard - West District | 3941 Point Grey Rd | Parks | Yes | Ademco 6128 | Counterforce | IP03 4952
John Hendry Park / Trout Lake Concession | 3300 Victoria Dr | Parks | Yes | Unknown | Telus | AW2567
Kensington Community Centre | 5175 Dumfries St | Parks | Yes | Ademco Vista 50p
Kerrisdale Arena | 5670 East Boulevard | Parks | Yes | Unknown | Counterforce | I650 1026 - Kerrisdale Ice Arena Ammonia
Kerrisdale Community Centre | 5851 West Boulevard | Parks | Yes | Ademco Vista 50p
Killarney CC Senior Centre | 6261 Killarney St | Parks | Yes | DSC NEO HS2032 | Counterforce | I650 7530
Killarney Community Centre | 6260 Killarney Street | Parks | Yes | Ademco Vista 50p | Counterforce | IP02 0843 - Killarney Community Centre Ammonia
Kits Beach Lifeguard Building | 1499 Arbutus St | Parks | Yes | DSC PC 1832 | Counterforce | I650 7412
Kitsilano Community Centre | 2690 Larch St | Parks | Yes | Ademco Vista 50p | Counterforce / Telus | I650 7482 - Counterforce AW2577 - Telus (Ammonia) AW2539 – Telus (Intrusion + Fire)
Kitsilano Community Centre - Rink | 2690 Larch St | Parks | Yes | Ademco Vista 50p | Counterforce / Telus | I650 7483
Kitsilano Pool | 2305 Cornwall St | Parks | Yes | Radar | Counterforce (Radar) / Telus (Intrusion) | Unknown - Counterforce / AW2500 - Telus
Kitsilano Pool - Concession | 2305 Cornwall St | Parks | Yes | Ademco Vista 20p | Telus | AW2643
Langara Golf Course - Maintenance shop | 7390 Columbia St | Parks | Yes | Ademco Vista 50p | Counterforce | I650 7487
Langara Golf Course - Pro shop | 6706 Alberta St. | Parks | Yes | Ademco Vista 50p | Counterforce | I650 7486
Lumberman's Arch Concession | 3301 Stanley Park Drive | Parks | Yes | Ademco Vista 10SE
Manitoba Yard | 250 West 70 Ave | ENG | Yes | Unknown | Counterforce / Paladin | 8A6394 - Manitoba Works Yard- EQS Building (Paladin) 8A6395 - Manitoba Works Yard -QSL Building (Paladin) 8A8550 - Manitoba Yard HR Trailer (Paladin) X10618 - Natural Gas (Counterforce)
Maple Grove Pool | 6875 Yew St | Parks | Yes | Unknown | Counterforce | I650 7560
Marine Gateway Bicycle Mobility Centre | 497 Interurban Way | ENG | Yes | Unknown | Counterforce | IP02 1315
Marine Gateway Office Space | 447 WS Marine Dr | ENG | Yes | Unknown | Counterforce
Marpole Oakridge Community Centre | 900 West 59 Ave | Parks | Yes | Ademco Vista 50p / 4208U
McCleery Golf Course Club House | 7188 Macdonald Street | Parks | Yes | Unknown | Counterforce | I650 7503 - McCleery Clubhouse I650 7505 - McCleery Driving Range I650 7504 - McCleery Maintenance
Modular Housing | 220 Terminal Ave | ACCS | Yes | Unknown | Counterforce | ID02 9789
Mount Pleasant Community Centre | 1 Kingsway | Parks | Yes | Ademco Vista 50p | Counterforce | I650 2722
Mount Pleasants Library | 1 Kingsway | VPL | Yes | Ademco Vista 50p | Counterforce | I650 2722
Mountain View Cemetery Ops Yard | 5435 Fraser St | Parks | Yes | Ademco Vista 20p (Ceremony) / Ademco Vista 20p (Office) / Ademco Vista 20p (Service Yd) |  | I650 2714 - Mountain View Cemetery Celebration Room I650 7419 - Mountain View Cemetery Customer Service I650 2719 - Mountain View Cemetery Ops Yard
MOV & MSC & Observatory | 1100 Chestnut St | REFM | Yes
MOV & MSC & Observatory - Loading Bay and Storage | 1100 Chestnut St | REFM | Yes | Ademco Vista 50p
MOV & MSC & Observatory - Rooftop | 1100 Chestnut St | REFM | Yes | Ademco Vista 15P | Counterforce | I650 7551
National Yard | 701 National | ENG | Yes | Unknown | Counterforce | IP02 1458 - National Yards Garage (Equipment Services) IP02 1425 - National Yards Gas Bar IP02 1465 - National Yards Parking Ops IP02 1428 - National Yards Warehouse
Neighbourhood Energy Utility | 1890 Spyglass Place | ENG | Yes | DSC PC 1832 | Counterforce | I650 2730
New Brighton Pool - Concession | 3201 New Brighton Road | Parks | Yes | Ademco 6139 / 6151 | Counterforce | I650 7564
Orpheum Annex | 823 Seymour St | ACCS | Yes | Unknown | Counterforce | I650 7508
Park Board - Head Office | 2099 Beach Avenue | Parks | Yes | Ademco Vista 128BPT | Telus | AW2602
Point Grey Community Centre | 4397 W 2nd Ave | Parks | Yes | Ademco Vista 10P / 4140 XMP
QE Theatre | 649 Cambie St | ACCS | Yes | Ademco 6160
QET Playhouse | 688 Hamilton St | Parks | Yes | Unknown | Counterforce | I650 7489
Queen Elizabeth Park - Bloedel Conservatory | 4600 Cambie St | Parks | Yes | Unknown | Counterforce | I650 1028 - Maintenance Shop
Queen Elizabeth Park - Pitch & Putt | 4600 Cambie Street | Parks | Yes | Ademco Vista 15p | Counterforce | I650 7553
Ray Cam Community Centre | 920 E. Hastings | Parks | Yes | Ademco Vista 50p
Ray Cam Community Centre - Panic/Duress | 920 E. Hastings | Parks | Yes | Ademco Vista 50p
Regent Hotel | 160 East Hastings St | REFM | Yes | Unknown | Counterforce | X1 0721
Renfrew Ravine Park | 2929 E.29th Ave | Parks | Yes | Ademco Vista 20p
Residence Inn | 2068 W 6th Ave | Parks | Yes | Unknown | Counterforce | IP13 0806
Revenue Property 7 | 1648 E 1st Ave | REFM | Yes | Unknown | Counterforce | IP02 1611
Revenue Property, Commercial | 1001 Kingsway | REFM | Yes | Unknown | Counterforce | IP02 1681 - Intrusion IP10 9930 – Driver Services, Unit 207/208
Rupert Pitch & Putt Park | 3402 Charles St | Parks | Yes | Ademco Vista 15p | Counterforce | I650 7420
Second Beach Pool | 8501 Stanley Park Dr | Parks | Yes | Ademco Vista 15p (cash booth) / Ademco Vista 15p (concession) | Counterforce | I650 7415
Seymour Residence | 1105 Seymour Street | ACCS | Yes | DSC NEO HS2032 | Paladin | 8A8161
South Transfer Station | 377 Kent Ave | Parks | Yes | Ademco 6150 | Counterforce | IP13 0368 (Recycling) / I650 2632 (Transfer)
South Vancouver Works Yard | 1250 E 45 Ave | ENG | Yes | Unknown | Counterforce | I650 2728
Stanley Park Barn | 690 Pipeline Rd | Parks | Yes | Ademco 6150
Stanley Park Pitch and Putt | 2197 Beach Avenue | Parks | Yes | Ademco Vista 15p
Stanley Park Rose Cottage | 610 Pipeline Road | Parks | Yes | Ademco 6160 | Counterforce | I650 7584
Stanley Park Train | 690 Pipeline Rd | Parks | Yes | Ademco 6139
Stanley Park Train Concession | 650 Pipeline Rd | Parks | Yes | Ademco Vista 10P
Stanley Park Works Yard | 605 Pipeline Rd | Parks | Yes | Ademco 6139 | Counterforce | IP03 4703
Strathcona Community Centre | 601 Keefer St | Parks | Yes | Ademco 4600 Series | Counterforce | I650-7418
Sunset Beach Concession | 1204 Beach Ave | Parks | Yes | Ademco 6150 | Telus | AW2648
Sunset Community Centre | 6810 Main St | Parks | Yes | Ademco Vista 50p (Centre) Ademco Vista 6160 (Arena)
Sunset Service Yard | 290 East 51st | Parks | Yes | Ademco Vista 50p | Counterforce / Telus | IP13 1290 – Counterforce AW2535 - Telus
Tactical Training Centre | 2010 Glen Dr | VPD | Yes | Ademco Vista 128BPT | Counterforce | I650 7413
Tamura House | 392 Powell St | Parks | Yes | DSC PC1832 | Counterforce | I650 7538
Technology Services | 814 Richards Street | REFM | Yes | Unknown | Counterforce | I650 2636
Templeton Pool | 700 Templeton Drive | Parks | Yes | Ademco 4219
Third Beach Concession | 7495 Stanley Park Drive | Parks | Yes | Unknown | Counterforce | I650 7417
Thunderbird Community Centre | 2311 Cassiar St | Parks | Yes | Ademco Vista 50p | Telus | AW2523 - Partition 1 & 2 AW2424 - Partition 3
Trout Lake Community Centre | 3360 Victoria Drive | Parks | Yes | DSC PC 4020 | Counterforce | I650 1021
VAHA | 525 W 10th | REFM | Yes | Unknown | Counterforce | I650-2725
Vancouver Aquatics Center | 1050 Beach Avenue | Parks | Yes | DSC - Unknown | Counterforce | IP03 5164
Vancouver Archives | 1150 Chestnut St | REFM | Yes | DSC - Unknown | Counterforce | I650 7441 (Observatory) / I650 7411 (Archives)
Vancouver Fire and Rescue Training Centre | 1330 Chess St | VFD | Yes | Unknown | Counterforce | I650 7565 (HUSAR) / IP034878 (Trailer) / I650 7567 (Centre)
Vancouver Maritime Museum | 1905 Ogden Ave | REFM | Yes | Unknown | Counterforce | I650 2715
Vancouver Zero Waste Centre | 8588 Yukon St. | ENG | Yes | Unknown
VanDusen Botanical Garden | 5251 Oak | Parks | Yes | Ademco Vista 50p (Admin) / Ademco Vista 15p (Edu) / Ademco Vista 20p (Service Yard) / Maxsys 4020 (Visitor) | Counterforce /Telus | I650 7166 - Service Yard (Counterforce)
VFD Hall #1 | 900 Heatley St | VFRS | Yes | Unknown (yard) / Vista 128BP (Hall) | Counterforce | I650 7558 - Firehall 1 Building (Counterforce) I650 7559 - Firehall 1 Motions (Counterforce) 8A0281 - Fire Hall 1- Admin Offices (Paladin) 8A0288 - Fire Hall 1- Garage & Shop (Paladin)
VPD Dog Squad | 755 Evans Ave | VPD | Yes | Unknown | Counterforce | I650 7488
VPD Forensics / Firearms | 1570 Kootenay St | Parks | Yes | Unknown | Counterforce | I650 7589
VPD Forensics / Firearms | 2010 Glen Dr | VPD | Yes | Unknown | Counterforce | I650 7568
VPD Professional Standards | 3585 Graveley, 6th Floor | Parks | Yes | Unknown | Counterforce | I650 7588
West Annex | 515 West 10th Avenue | REFM | Yes | Unknown | Counterforce | I650 7561 - West Annex 4th Floor I650 7562 - West Annex Lobby
West End Community Centre | 870 Denman St | Parks | Yes | Napco MA 3000 / DSC PC500 | Counterforce | I650 1027 - Ammonia
Woodwards | 111 W Hastings | ACCS | Yes | Unknown | Counterforce | I650 2653 (4th) / I650 2726 (5th) / I650 2727 (6th)
YMCA Daycare | 1475 Burrard St | REFM | Yes | Unknown | Paladin | 5A5318

## Access Control
Site Name | Site Address | Business Unit | Keyscan (Y/N) | Keyscan Install Year | Total # Of Keyscan Panels | # Of 8 Door Panels | # Of 4 Door Panels | # Of 2 Door Panels | # of Readers | UPS (Y/N) | UPS Install Year
Creekside Community Recreation Center | 1 Athletes Way | Parks | YES | 2018 | 4 | 1 | 1 | 2
Mount Pleasant Community Centre | 1 Kingsway | Parks | YES | 2018 | 12 | 7 | 3 | 2
MOV & MSC & Observatory - Rooftop | 1100 Chestnut St | REFM | YES | 2018 | 8 | 6 | 1 | 1
Woodwards | 111 W Hastings | ACCS | YES | 2018 | 3 | 3 | 0 | 0
Vancouver Archives | 1150 Chestnut St | REFM | YES | 2018 | 8 | 6 | 1 | 1
Abandoned Vehicle Lot | 1150 SE Kent Ave. | ENG | YES | 2018 | 1 | 0 | 0 | 1
Granville Residence | 1261 Granville Street | ACCS | YES | 2018 | 2 | 0 | 1 | 1
Animal Control - Animal Shelter | 1280 Raymur Ave | ACCS | YES | 2018 | 1 | 1 | 0 | 0
False Creek Community Centre | 1318 Cartwright Street | Parks | YES | 2018 | 4 | 1 | 1 | 2
Vancouver Fire and Rescue Training Centre | 1330 Chess St | VFD | YES | 2018 | 6 | 0 | 3 | 3
False Creek Pump Station | 1400 Homer St | ENG | YES | 2018 | 4 | 1 | 1 | 2
Burrard Marina | 1655 Whyte Ave | Parks | YES | 2018 | 2 | 2 | 0 | 0
Britannia Community Centre - Rink | 1661 Napier St | Parks | YES | 2018 | 1 | 0 | 1 | 0
311 Call Centre | 1800 Spyglass Pl | REFM | YES | 2018 | 3 | 1 | 0 | 2 | 11
Neighbourhood Energy Utility | 1890 Spyglass Place | ENG | YES | 2018 | 2 | 1 | 1 | 0
Manitoba Yard | 250 West 70 Ave | ENG | YES | 2018 | 19 | 4 | 11 | 4
Cambie Parkade | 2615 Cambie Street | REFM | YES | 2018 | 1 | 1 | 0 | 0
Kitsilano Community Centre | 2690 Larch St | Parks | YES | 2018 | 1 | 0 | 1 | 0
Trout Lake Community Centre | 3360 Victoria Drive | Parks | YES | 2018 | 1 | 0 | 0 | 1
Carnegie Community Centre | 401 Main St | ACCS | YES | 2018 | 1 | 0 | 1 | 0
Marine Gateway Office Space | 447 WS Marine Dr | ENG | YES | 2018 | 8 | 4 | 4 | 0
City Hall | 453 West 12th | REFM | YES | 2018 | 34 | 18 | 10 | 6
Hillcrest Community Center | 4575 Clancy Loranger Way | Parks | YES | 2018 | 4 | 2 | 1 | 1
Crossroads | 507 West Broadway | ENG | YES | 2018 | 6 | 6 | 0 | 0 | 47
West Annex | 515 West 10th Avenue | REFM | YES | 2018 | 12 | 6 | 3 | 3
Kensington Community Centre | 5175 Dumfries St | Parks | YES | 2018 | 1 | 1 | 0 | 0
VAHA | 525 W 10th | REFM | YES | 2018 | 1 | 0 | 1 | 0
VanDusen Botanical Garden | 5251 Oak | Parks | YES | 2018 | 2 | 0 | 0 | 2
Delta Landfill - Admin | 5400 72nd St, Delta | ENG | YES | 2018 | 7 | 0 | 0 | 7
Echelon - 5th Floor - VFRS | 575 W 8th Ave. | VFRS | YES | 2018 | 1 | 1 | 0 | 0
Echelon - 3rd Floor - LEGAL | 575 W 8th Ave. | REFM | YES | 2018 | 2 | 1 | 0 | 1 | 10
Kerrisdale Community Centre | 5851 West Boulevard | Parks | YES | 2018 | 1 | 0 | 1 | 0
Gathering Place | 609 Helmcken St | ACCS | YES | 2018 | 6 | 1 | 1 | 4
Stanley Park Rose Cottage | 610 Pipeline Road | Parks | YES | 2018 | 1 | 1 | 0 | 0
Killarney Community Centre | 6260 Killarney Street | Parks | YES | 2018 | 3 | 1 | 0 | 2
Killarney CC Senior Centre | 6261 Killarney St | Parks | YES | 2018 | 1 | 1 | 0 | 0
QE Theatre | 649 Cambie St | ACCS | YES | 2018 | 9 | 2 | 5 | 2
National Yard | 701 National | ENG | YES | 2018 | 13 | 3 | 4 | 6
Gresham Residence | 716 Smithe Street | ACCS | YES | 2018 | 1 | 0 | 1 | 0
Technology Services | 814 Richards Street | REFM | YES | 2018 | 3 | 2 | 1 | 0
West End Community Centre | 870 Denman St | Parks | YES | 2018 | 1 | 0 | 0 | 1
VFD Hall #1 | 900 Heatley St | VFRS | YES | 2018 | 4 | 0 | 4 | 0